1. ------IND- 2013 0576 I-- EN- ------ 20131115 --- --- PROJET

Decree No _______

Approval of the official methods for analysing fertilisers – Supplement No 12

THE DIRECTOR-GENERAL

HAVING CONSIDERED Legislative Decree 282 of 18 June 1986 converted with amendments in Law 462 of 7 August 1986, Article 10 of which establishes the foundation of a Central Inspectorate for the Repression of Fraud within the Ministry of Agriculture and Forestry for the performance, among other things, of duties inherent to the prevention and repression of violations in the preparation and trade of agro-food products and substances for agrarian and forestry use

HAVING CONSIDERED Prime Ministerial Decree 105 of 22 February 2013 on the “Organisation of the Ministry of Agricultural, Food and Forestry Policies”, Article 4 of which names the Central Inspectorate “Central Inspectorate Department for the Protection of Quality and for the Repression of Frauds concerning Agro-Food Products" (ICQRF), confirming among its responsibilities the updating of official methods of analysis of agro-food products and substances for agrarian and forestry use;

HAVING CONSIDERED Legislative Decree 165 of 30 March 2001 and subsequent amendments;

HAVING CONSIDERED the pro-tempore Ministerial Decree of 5 May 2006 of the Minister of Agriculture and Forestry Policies concerning, pursuant to Article 44 of Law 82 of 20 February 2006, the foundation of an advisory committee for the updating of official methods of analysis of agro-food products and substances for agrarian and forestry use, broken down into 10 sub-commissions each with individual responsibilities, including the fertiliser and similar subcommittee set up and named by means of Ministerial Decree 1793 of 19 December 2008 and the subsequent amendments to the composition thereof;

HAVING CONSIDERED the Prime Ministerial Directive of 4 August 2010 on interpretation guidelines for the reorganisation of collegial bodies and the reduction of costs in administrative systems, which provides for the extended operation of the aforementioned advisory committee and of the related subcommittees until 28 June 2012;

HAVING CONSIDERED Article 6 of Legislative Decree 75 of 29 April 2010 on the “Reorganisation and review of the fertiliser system, pursuant to Article 13 of Law 88 of 7 July 2009”, which states that compliance with the provisions concerning conformity with fertiliser types and compliance with the declared strengths of fertilising elements and of the declared strengths of the forms and solubility of such elements shall be checked, during official inspections, using sampling and analysis methods adopted by means of decree of the Ministry of Agricultural, Food and Forestry Policy, having consulted the advisory committee provided for in Article 44 of Law 82 of 20 February 2006;

HAVING CONSIDERED the Ministerial Decree of 24 March 1986 approving the “Official methods for analysing fertilisers” published in the Ordinary Supplement of the Official Journal of the Italian Republic (GURI) 180 of 5 August 1986, most recently amended and supplemented by means of the decree of 20 November 2012 – Supplement No 11 – published in the Official Journal of the Italian Republic (GURI) 280 of 30 November 2012;

IN CONSIDERATION OF THE NEED to supplement the set of existing methods of analysis with methods suitable for the control of national fertilisers already included or for which a request has been submitted for inclusion in the annexes to Legislative Decree 75 of 29 April 2010 and subsequent amendments and additions;

IN CONSIDERATION OF the positive opinion expressed at the meeting of 30 May 2012 by the advisory committee for updating the official methods for analysing agro-food products and substances for agrarian and forestry use – the aforementioned fertilisers and similar subcommittee;

HAVING CONSIDERED Directive 98/34/EC and subsequent amendments laying down a procedure for the provision of information in the field of technical standards and regulations;

### HEREBY DECREES

Article 1

- The official methods for analysing fertilisers – Supplement No 12 described in the annex to this decree are hereby approved.

- The analysis methods described in the annex to this decree apply to the inspection of national fertilisers.

#### Article 2

This decree shall take effect the day after its publication in the Official Journal of the Italian Republic (GURI).

p. MINISTRY OF AGRICULTURAL, FOOD AND FORESTRY POLICIES

The Director-General of the Directorate General for the prevention
 and combating of agro-food fraud

Rome, on

# Annex

# ANALYSIS METHODS FOR OFFICIAL FERTILISER INSPECTIONS

# Supplement No 12

- Determination of sulfur from ammonium thiosulfate

- Determination of sulfur from potassium thiosulfate

- Determination of mannitol in fertilisers based on seaweed-cream filtrate

- Method for assessing biostimulant activity of products based on seaweed-cream filtrate

- Determination of the triacontanol content

- Determination of the lead content in fertilisers using inductively coupled plasma atomic emission spectroscopy (ICP/AES)

- Determination of the δ-aminolevulinic acid in fertilisers using reversed phase HPLC

- Determination of the respiration rate of soil improvers and growing media

- Determination of the isotope ratio of carbon (13C/12C) and nitrogen (15N/14N)

- Determination of the thermal behaviour of a compound using thermogravimetric analysis (TG) and differential thermal analysis (DTA)

- Determination of the cation exchange capacity (CEC) of zeolite-based fertilisers

- Qualitative and quantitative determination of the zeolite content in crystalline and amorphous phases using Rietveld method

- Determination of the chemical composition of zeolitites using X-ray fluorescence spectroscopy

- Method for counting Escherichia coli

- Horizontal method for detecting Salmonella spp.

# 1 Determination of sulfur from ammonium thiosulfate

1. Subject

This document sets out the procedure to be followed to quantify the sulfur (expressed as sulfur trioxide) present in the form of ammonium thiosulphate.

2. Field of Application

This method is applicable to fertilisers based on ammonium thiosulphate solution.

3. Principle

Acid-base titration of total alkalinity, followed by iodometric titration of thiosulphates and sulfates, and final acid-base titration of sulfates.

4. Equipment

Normal laboratory equipment, and in particular:

4.1 Analytical balance (precision 0.1 mg)

4.2 Burettes (precision 0.01 mL)

5. Reagents

5.1 Hydrochloric acid 0.1N; no need to standardise the solution.

5.2 Iodine 0.1N: solution should be standardised, with f1 indicate correction factor of iodine solution 0.1N.

5.3 Sodium hydroxide 0.1N: solution should be standardised, with f2 indicate correction factor of sodium hydroxide solution 0.1N.

5.4 Solution of methyl red in ethanol (indicator): dissolve 0.1 g of methyl red in 100 mL of 95 % ethanol.

5.5 Starch neutralised with methyl red (indicator): heat 4.5 L of distilled water to boiling point, add 5 g of salicylic acid, 25 g of soluble starch and mix until solubilisation. Cool and make up to 5 L with distilled water. Transfer an aliquot of around 200 mL of solution, add a few drops of methyl red solution (5.4) and neutralise with NaOH 0.5N (point 5.6 below) until the colour changes.

5.6 Sodium hydroxide 0.5N. No need to standardise the solution.

5.7 Distilled or demineralised water of equivalent quality.

6. Procedure

6.1 Acid-base titration of total alkalinity:

Weigh approximately 7–8 g of sample with a precision of 0.1 mg in a 250 mL flask and add approximately 100 mL of distilled water. Record p=weight in g in the sample initially taken.

Add a few drops of methyl red solution (5.4) and titrate rapidly with hydrochloric acid 0.1N (5.1) until the first colour change.

6.2 Preparation of the neutralised sample solution:

Transfer the neutralised solution obtained in point 6.1 into a graduated 250 mL flask, bring up to volume with distilled water and homogenise.

6.3 Iodometric titration of thiosulphates (S2O3=) and of sulfates (SO3=)

Transfer 25 mL of the solution of the sample prepared in point 6.2 into a 250 mL flask and add approximately 75 mL of distilled water. Titrate with iodine 0.1N (5.2) using neutralised starch as indicator (5.5) and keep the solution for point 6.4 below. Record V1 = mL of iodine 0.1N used in titration.

6.4 Acid-base titration of sulphites (SO3=)

To the standardised solution obtained in point 6.3, add, drop by drop, the minimum quantity of solution of the neutralised sample obtained in point 6.2 required to eliminate the blue colouring obtained in the iodine titration. Add 1 or 2 drops of alcohol solution of methyl red (5.4) and then titrate with sodium hydroxide 0.1N (5.3) until the first colour change. Record V2 = mL of sodium hydroxide 0.1N used in titration.

7. Expression of results

The results obtained are expressed as weight/weight percentage.

The per cent of sulfur (expressed as SO3) from thiosulphate is given using the following formulas:

% Ammonium thiosulphate: (NH4)2S2O3 % = 148.2 × [(V1 × 0.1 × f1) – 0.667 × (V2 × 0.1 × f2)]

p

where:

V1 = mL of iodine 0.1N used in iodometric titration of thiosulphates and sulfates

f1 = correction factor of iodine solution 0.1N

V2 = mL of sodium hydroxide 0.1N used in the acid-base titration of the sulfates

f2 = correction factor of the sodium hydroxide solution 0.1N

% Sulfur (expressed as SO3) from thiosulphate = Content of (NH4)2S2O3 % x 1.0805

Where:

0.667 = stoichiometric factor

d = dilution

100 = factor required to express result as a percentage

1 000 = weight conversion factor from mg to g

8. Repeatability and reproducibility calculated for a thiosulphate content of approximately 60 %

| Measurement unit | n | r | R |
| --- | --- | --- | --- |
| % | 10 | 0.4 | 1.2 |

2 Determination of sulfur from potassium thiosulfate

1. Subject

This document sets out the procedure to be followed to quantify the sulfur (expressed as sulfur trioxide) present in the form of potassium thiosulphate.

2. Field of Application

This method is applicable to fertilisers based on potassium thiosulphate solution.

3. Principle

Acid-base titration of total alkalinity, followed by iodometric titration of thiosulphates and sulfates, and final acid-base titration of sulfates.

4. Equipment

Normal laboratory equipment, and in particular:

4.1 Analytical balance (precision 0.1 mg)

4.2 Burettes (precision 0.01 mL)

5. Reagents

5.1 Hydrochloric acid 0.1N; no need to standardise the solution.

5.2 Iodine 0.1N: solution should be standardised, with f1. Indicate correction factor of iodine solution 0.1N.

5.3 Sodium hydroxide 0.1N: solution should be standardised, with f2. Indicate correction factor of sodium hydroxide solution 0.1N.

5.4 Solution of methyl red in ethanol (indicator): dissolve 0.1 g of methyl red in 100 mL of 95 % ethanol.

5.5 Starch neutralised with methyl red (indicator): heat 4.5 L of distilled water to boiling point, add 5 g of salicylic acid, 25 g of soluble starch and mix until solubilisation. Cool and make up to 5 L with distilled water. Transfer an aliquot of around 200 mL of solution, add a few drops of methyl red solution (5.4) and neutralise with NaOH 0.5N (point 5.6 below) until the colour changes.

5.6 Sodium hydroxide 0.5N: no need to standardise the solution.

5.7 Distilled or demineralised water of equivalent quality.

6. Method of Operation

6.1 Acid-base titration of total alkalinity:

Weigh approximately 7–8 g of sample with a precision of 0.1 mg in a 250 mL flask and add approximately 100 mL of distilled water. Record p=weight in g in the sample initially taken.

Add a few drops of methyl red solution (5.4) and titrate rapidly with hydrochloric acid 0.1N (5.1) until the first colour change.

6.2 Preparation of the neutralised sample solution:

Transfer the neutralised solution obtained in point 6.1 into a graduated 250 mL flask, bring up to volume with distilled water and homogenise.

6.3 Iodometric titration of thiosulphates (S2O3=) and of sulfates (SO3=)

Transfer 25 mL of the solution of the sample prepared in point 6.2 into a 250 mL flask and add approximately 75 mL of distilled water. Titrate with iodine 0.1N (5.2) using neutralised starch as indicator (5.5) and keep the solution for point 6.4 below. Record V1 = mL of iodine 0.1N used in titration.

6.4 Acid-base titration of sulphites (SO3=)

To the standardised solution obtained in point 6.3, add, drop by drop, the minimum quantity of solution of the neutralised sample obtained in point 6.2 required to eliminate the blue colouring obtained in the iodine titration. Add 1 or 2 drops of alcohol solution of methyl red (5.4) and then titrate with sodium hydroxide 0.1N (5.3) until the first colour change. Record V2 = mL of sodium hydroxide 0.1N used in titration.

7. Expression of results

The results obtained are expressed as weight/weight percentage.

The percentage of sulfur (expressed as SO3) from thiosulphate is given using the following formulas:

% Potassium Thiosulfate: K2S2O3 % = 190.32 × [(V1 × 0.1 × f1) – 0.667 × (V2 × 0.1 × f2)]

p

where:

V1 = mL of iodine 0.1N used in iodometric titration of thiosulphates and sulfates

f1 = correction factor of iodine solution 0.1N

V2 = mL of sodium hydroxide 0.1N used in the acid-base titration of the sulfates

f2 = correction factor of the sodium hydroxide solution 0.1N

% Sulfur (expressed as SO3) of thiosulphate = Content of K2S2O3 % x 0.8413

Where:

0.667 = stoichiometric factor

d = dilution

100 = factor required to express result as percentage

1 000 = weight conversion factor from mg to g

8. Repeatability and reproducibility calculated for a thiosulphate content of approximately 50 %

| Measurement unit | n | r | R |
| --- | --- | --- | --- |
| % | 10 | 0.15 | 0.41 |

3 Determination of mannitol in fertilisers based on seaweed-cream filtrate

1. Subject

This document sets out a method for determining D-Mannitol in organic fertilisers.

2. Field of Application

The method makes it possible to quantify D-Mannitol using an enzymatic method (with a specific kit) in liquid fertilisers based on seaweed-cream filtrate.

3. Principle

Mannitol content is determined using an enzymatic kit produced by Megazyme Company, applying the procedure described in the instructions provided with said kit. Enzymatic determination is based on the oxidising reaction of D-Mannitol to D-fructose caused by the enzyme nicotinamide-adenine dinucleotide (NAD+), in the presence of mannitol dehydrogenase (ManDH), with the formation of reduced nicotinamide-adenine dinucleotide (NADH)

Mannitol dehydrogenase (ManDH)

D-Mannitol + NAD+	D-fructose + NADH + H+

The quantity of NADH produced in this reaction is stoichiometrically correlated to the quantity of D-Mannitol, and is measured by the increase in absorbency to 340 nm.

4. Reagents

Unless otherwise specified, during the test use only reagents of recognised analytical quality and distilled or demineralised water or water of equivalent purity.

  - Enzymatic kit K-MANOL 01/05 for quantifying D-MANNITOL / L-ARABITOL (Megazyme International Ireland Ltd.).

The kit should contain everything required to perform the analysis, specifically:

    - Reagent 1: Tris/HCl buffer (10 mL, 2 M, pH 9.0) and BSA (15 mg/mL), containing sodium azide (0.02 % m/v) as preserving agent. The solution is stable for approximately two years at 4 °C.

    - Reagent 2: Solution of (×2) NAD+ (150 mg). The solution is stable for approximately two years at -20 °C.

    - Reagent 3: Suspension of the enzyme mannitol dehydrogenase (1.3 mL, 300 U/mL). The solution is stable for approximately two years at 4 °C.

    - Reagent 4: Pure D-Mannitol and reference solution of D-Mannitol (5 mL, 0.30 mg/mL). The solution is stable for approximately two years at ambient temperature.

NOTICES: Some of the reagents used in this procedure are dangerous and special care should be taken when using them. Avoid contact with the skin and eyes and do not inhale fumes.

Operators are advised to observe the instructions given on the label of the product container and to consult the related safety sheets for specific information on the danger level of the reagents used and the related disposal methods, if necessary.

5. Equipment

Normal laboratory equipment, and in particular:

5.1 Mechanical shaker

- 5.2 Polypropylene test tubes

- 5.3 Single- or double-beam spectrophotometer

- 5.4 Quartz cuvette or plastic disposable cuvette with 1 cm optical path

- 6. Preparation of the sample

# 6.1 Homogenise each reagent solution using the mechanical shaker (5.1). Use distilled water for any dilutions required. The dilution factor F depends on the concentration of D-Mannitol expected in the sample (see Table 1).

# 6.2 Prepare a minimum of three and a maximum of five replicas for each solution for determining D-mannitol.

# 6.3 Prepare solution A, containing 0.30 mg/mL of D-Mannitol from the stock provided with the kit (Reagent 1 + Reagent 2). Also prepare solution B, containing 0.5 mg/mL of D-Mannitol from the pure D-Mannitol (Reagent 4). These two solutions will be used as positive controls for the successive dosing. In the first phase of analysis, a calibration curve with a constant slope must be established for the spectrophotometer (5.3), thereby enabling the curve to be used for subsequent determinations by simply adding the two controls to the solutions to be analysed (Solutions A and B).

# 7. Procedure

# 7.1 Using Reagent 1 as provided in the kit. Solubilise the content of "Reagent 2" in 3.3 mL of distilled water. Divide the solution obtained into aliquots of appropriate volume and keep them in polypropylene test tubes (5.2) at -20 °C between uses and on ice during analysis. Solubilise the content of the second "Reagent 2" only if this is expressly requested. Use the content of "Reagent 3" as provided in the kit. Use the content of "Reagent 4" as provided in the kit.

# 7.2 Calibrate the spectrophotometer (5.3) at a wavelength of 340 nm and a temperature of ~ 25 °C. The quantity of D-Mannitol in the cuvette (5.4) must be between 2 and 75 µg (in a sample volume of 0.10-2.0 mL). The sample solution must therefore be diluted with distilled water to obtain a concentration of D-Mannitol between 0.05 and 0.75 g/L. The final volume shall be 2.32 mL. Perform the reading of the blank by filling the cuvette with distilled water and reading the absorbency value (A).

Table 1.

| Estimated concentration of D-Mannitol (g/L) | Dilution in water (mL) | Dilution factor (F) |
| --- | --- | --- |
| <0.75 | No dilution | 1 |
| 0.75 - 7.5 | 1 mL sample + 9 mL water | 10 |
| >7.5 | 1 mL sample + 99 mL water | 100 |

7.3 Use the following volumes to be inserted in the cuvette for analysis:

|  | Blank | Sample |
| --- | --- | --- |
| Distilled water (at ~ 25°C): | 2.10 mL | 2.00 mL |
| Sample: | - | 0.10 mL |
| “Reagent 1” (Tris/HCl buffer): | 0.10 mL | 0.10 mL |
| “Reagent 2” (NAD+): | 0.10 mL | 0.10 mL |

7.4 Mix using a plastic spatula or by slowly upturning the cuvette, having first closed it using an appropriate lid or with Parafilm®.

Read the absorbency of the solution (A1) after approximately 2 minutes.

7.5 Start the enzymatic reaction by adding the "Reagent 3" to the solution A1:

|  | Blank | Sample |
| --- | --- | --- |
| “Reagent 3" (ManDH) | 0.02 mL | 0.02 mL |

Mix using a plastic spatula or by slowly upturning the cuvette, having first closed it using an appropriate lid or with Parafilm®.

Read the absorbency of the solution (A2) upon completion of the reaction, after approximately 4 minutes.

8. Expression of results

Determine the difference in absorbency (A2-A1) both for the blank and for the sample. Subtract the absorbency difference of the blank from the absorbency difference of the sample, to obtain the value ∆A D-Mannitol. Each repetition for each solution is analysed once. As there will be between 3 and 5 replicas, each measurement will be replicated at least three and at most five times.

The concentration of D-Mannitol is calculated as shown below:

where:

V 	= Final volume of the solution in millilitres = 2.32 mL

MW 	= Molecular weight of the substance to be analysed, in grams/mole = 182.14 g/mol

ε	= Extinction coefficient of the NADH at 340 nm = 6 300 l/mol/cm

d 	= Optical path of the cuvette, in centimetres = 1 cm

v 	= volume of the sample, in millilitres = 0.1 mL

- i.e.

2.32 × 182.17

c = 	× ΔA D-Mannitol	(g/L)

6300 × 1.0 × 0.10

= 0.6708 × ΔA D-Mannitol (g/L)

If the sample was diluted during preparation, the result must be multiplied by the dilution factor F.

The absorbency delta value (ΔA) of D-Mannitol must be provided to three decimal places.

9. Statistical parameters

Three to five measurements are obtained for each solution, i.e. one measurement for each repetition. Consequently, there are 3 to 5 replicas for each solution.

Record the result as the mean of the replicas made, calculating the related standard deviation from the mean.

The variation coefficient may be calculated using the following formula:

CV = (Standard deviation / mean) ×100

The CV is expressed as a percentage: consequently, the lower the variation coefficient, the more accurate the result.

The estimated repeatability (r) is 0.34 mg/L.

To guarantee the accuracy of the test, the results of both of the positive controls must be carefully examined. Since the initial concentrations are in fact known, a comparison should be made with the value obtained.

Narrow repeatability is shown in the table and in the figure below:

| Mannitol concentration in several samples of seaweed filtrate |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample number | Mannitol (g/L) | Mean (g/L) | (g/L) | CV (%) |
| A 303450 | 6.84 | 6.809 | 0.042 | 0.615 |
|  | 6.82 |  |  |  |
|  | 6.76 |  |  |  |
| A 312240 | 6.36 | 6.354 | 0.168 | 2.642 |
|  | 6.44 |  |  |  |
|  | 6.50 |  |  |  |
|  | 6.12 |  |  |  |
| A 312241 | 6.40 | 6.490 | 0.306 | 4.713 |
|  | 6.34 |  |  |  |
|  | 6.28 |  |  |  |
|  | 6.94 |  |  |  |
| A 404516 | 7.37 | 7.164 | 0.691 | 9.652 |
|  | 7.59 |  |  |  |
|  | 7.57 |  |  |  |
|  | 6.14 |  |  |  |
| A 405621 | 6.84 | 6.827 | 0.141 | 2.062 |
|  | 6.84 |  |  |  |
|  | 6.98 |  |  |  |
|  | 6.64 |  |  |  |
| A 411220 | 6.64 | 6.646 | 0.104 | 1.571 |
|  | 6.72 |  |  |  |
|  | 6.72 |  |  |  |
|  | 6.50 |  |  |  |
| A 501335 | 6.18 | 6.193 | 0.141 | 2.273 |
|  | 6.22 |  |  |  |
|  | 6.36 |  |  |  |
|  | 6.02 |  |  |  |
| A 502430 | 7.81 | 7.953 | 0.115 | 1.452 |
|  | 7.90 |  |  |  |
|  | 7.92 |  |  |  |
|  | 8.04 |  |  |  |
|  | 8.10 |  |  |  |
| Mean | / | 6.805 | 0.207 | 3.046 |

The assay is linear within the range 5-75 µg of D-Mannitol per sample tested.

The detection limit is 0.50 / 0.42 mg/L, arising from an absorbency difference of 0.015 with a maximum sample volume of 2 mL.

The sensitivity of the method is between 0.1 and 0.7 mg/mL of liquid sample.

10. Notes

The result is readily reproducible. The CV value obtained is usually very low (<5 %). Furthermore, the result is also reproducible over time, i.e. if it is repeated the following day, the results are consistent and the standard deviation is very low, as expected for a marker substance. Furthermore, the method is rapid and accurate.

Since the characteristics of the individual reagents may differ from kit to kit (i.e. different pH, colour, fatty acid content, etc.), some adjustments may be required, as specified in the instructions normally provided with the analysis kits.

11. Bibliography

Methods of Enzymatic Analysis”, Bergmeyer, H.U.(Ed.), 3rd edition, Vol VI, (Cambridge).

4 Method for assessing biostimulant activity of products based on seaweed-cream filtrate

1. Subject

The method described relates to a bioassay use to show the biostimulant effects of the product "Seaweed-cream filtrate" on the development of maize shoots, using a short-term cup test under controlled conditions.

2. Field of Application

This method is applicable to seaweed-cream filtrate (CA) and to biostimulants based on seaweed extract from Ascophyllum nodosum.

3. Principle

The method is based on the biostimulant properties of the seaweed-cream filtrate Ascophyllum nodosum, that have an effect on the development of seedlings by means of substances that improve assimilation of the nutrients.

This involves a short-term test (15 full days) relating to the growth of Zea mays L. seedlings, using quartz sand as growth medium, to which is added and established an aliquot of biostimulant, applied at high dilutions, both with and without nutrient solution.

4. Reagents

Unless otherwise specified, during the test use only reagents of recognised analytical quality and distilled or demineralised water or water of equivalent purity.

4.1 Zea mays L. seeds, Class 300;

4.2 Solution of CaSO4 0.5 mM (PM = 136):

weigh 68 mg of pure CaSO4, solubilise with distilled water in a graduated 1 L flask and bring up to volume;

4.3 NaClO 5 % v/v solution;

4.4 Quartz sand;

4.5 Ethanol (CH3CH2OH) sol. 90 %;

4.6 Monopotassium phosphate (KH2PO4);

4.7 Potassium nitrate (KNO3);

4.8 Calcium nitrate [Ca(NO3)2. 4 H2O];

4.9 Magnesium sulfate [Mg SO4.7 H2O];

4.10 Hoagland nutrient solution (NS) at 100 % and 50 %: prepare the nutrient solution by mixing the reagents in the following proportions in 1 L of distilled H2O:

|  | Hoagland solution (NS 50 %) |
| --- | --- |
|  | (g/L) |
| KH2PO4 | 0.068 |
| KNO3 | 0.253 |
| Ca(NO3)2. 4 H2O | 0.590 |
| Mg SO4.7 H2O | 0.246 |

NOTICES: Some of the reagents used in this procedure are dangerous and special care should be taken when using them. Avoid contact with the skin and eyes and do not inhale fumes.

Operators are advised to observe the instructions given on the label of the product container and to consult the related safety sheets for specific information on the danger level of the reagents used and the related disposal methods, if necessary.

5. Equipment

Normal laboratory equipment, and in particular:

5.1 Two-litre polypropylene beaker;

5.2 Polypropylene dishes measuring 60 cm × 40 cm;

5.3 Sheets of filter paper;

5.4 Plastic vessels with a diameter exceeding 6 cm;

5.5 Rigid plastic saucers with a diameter of 12–15 cm;

5.6 Ruler at least 20 cm long with millimetre markings;

5.7 Thermostatic cabinet with a control system for the light/dark cycle and relative humidity;

5.8 Natural-convection thermostatic oven able to keep the test temperature constant to ± 1°C.

5.9 Analytical balance providing 0.1 mg measurement accuracy.

6. Procedure

6.1 Solution preparation

The "seaweed-cream filtrate" formulation must be tested with or without half-strength nutrient solution:

- 0 % Nutrient solution, H2O (0% NS)

- 50 % Nutrient solution in H2O (50% NS)

Prepare the solutions to be tested, diluting the "seaweed-cream filtrate" formulation (CA) as detailed below (increasing product concentrations):

- H2O (control)

- 1LCA in 500 L H2O = 2.0 mLCA in 1 L H2O

- 1LCA in 300 L H2O = 3.3 mLCA in 1 L H2O

- NS 50%

- 1LCA in 500 L NS 50 % = 2.0 mLCA in 1 L NS 50 %

- 1LCA in 300 L NS 50 % = 3.3 mLCA in 1 L NS 50 %

Each test is replicated three times. Each vessel must contain two seeds, so the number of replicas per treatment is six.

Total vessels: (6 Treatments × 2 seeds) × 3 replicas = 36 seeds

6.2 Germination of Zea mays L. seeds and selection

### Place the maize seeds in a 2 L polypropylene beaker (5.1) and place under running water for 16 hours. At the end of the soaking period, remove the water and sterilise the seeds by adding approximately 100 mL of NaClO 5 % solution (4.3), shaking for several minutes (washing should not exceed five minutes).

Place three sheets of filter paper (5.3) on the bottom of the polypropylene vessels (5.2), previously cleaned with ethanol (4.5), and pour into each one a quantity of CaSO4 0.5 mM solution (4.2), ensuring the paper is soaked through, taking care to remove any air bubbles that form between the layers of filter paper.

Now put the seeds in place, taking care not to put too many seeds in the vessel, which could inhibit rootlet growth (approximately 100 seeds/vessel). Place the prepared containers, covered with a sheet of perforated aluminium foil, in the thermostatic cabinet (5.7) set to:

- temperature: 28°C ±0.5°C

- Light/dark cycle: 0 hours/24 hours

- Relative humidity: 70 %

At the end of the incubation period (24– 48 hours), select two-day-old seedlings by uniformity of route length (2.5±0.5 cm), recording the length of the root (Li) and the related recognition letter at the time of placing in the vessel.

6.3 Preparation of substrates, solutions and subsequent placing of seedlings in vessels

Place a disc of filter paper (5.3) having a diameter slightly greater than the base of the vessel in the bottom of each vessel (5.4) and add approximately 120–130 mL of quartz sand (4.4) to each vessel. Then soak each substrate with a fixed aliquot (50 mL) of the previously prepared solutions (treatments in point 6).

Placed two of the seedlings selected into each vessel, recording on the vessel itself the letter identifying each seedling. Each treatment is repeated three times (2 seedlings/vessel, therefore six seedlings/treatment).

Place a collection saucer beneath each vessel and add 100 mL of the same solution used for each treatment to the saucer (total solution added to each vessel: 150 mL).

For the "control" treatment: add 150 mL of distilled water (4.6) to each saucer.

Place the vessels in a thermostatic cabinet (5.7) set to:

- temperature: 28°C  ±0.5°C

- Light/dark cycle: 12 hours/12 hours

- Relative humidity: 70 %

Check the water status of the system daily. It is advisable to add 50–70 mL of distilled water (4.6) directly to the saucer every morning.

Wait 15 days, then remove the seedlings, breaking the inert substrate slab. Wash the roots by immersing in distilled water (4.6) to eliminate any excess quartz sand.

6.4 Measurements

Having removed the excess water from the roots by blotting with absorbent paper, take the following length measurements using a ruler (5.6) and weight measurements using an analytical balance (5.10):

- Final length of main root (L in cm) with a precision of ±0.1;

- Fresh root weight, in g, with a precision of ±0.01 g;

- Height of maize shoot, with a precision of ±0.1;

- Fresh weight of shoot, in g, with a precision of ±0.01 g.

Now put the roots and shoots in the oven (5.8) at 105°C for 18 hours, and measure the following parameters again:

- Dry root weight, in g, with a precision of 0.01 g;

- Dry weight of shoot, in g, with a precision of 0.01 g.

7. Expression of results

Calculate the route lengthening of each seedling, using the following formula:

R (cm) = Lf – Li

and record the fresh and dry weights of the maize shoot and root.

Provide a statistical application of the results using ANOVA. The product demonstrates biostimulant activity if the following is observed:

- With no nutrient solution (0 % NS):

- a substantial equality or slight decrease in root length;

- an increase in shoot height;

- an increase in fresh and dry weight of shoot.

- With nutrient solution (50 % NS):

- a substantial equality in root length;

- an increasing trend in fresh and dry weight of root;

- an increase in height and fresh and dry weight of shoot.

The parameters must be statistically significant in relation to the control (P<0.05) for at least one of the two dilutions used (1:300 and 1:500).

8. Statistical parameters

|  | Measurement unit | n | sr | r* |
| --- | --- | --- | --- | --- |
| Root lengthening (R) | cm | 6 | 1.5 | 4.2 |
| Root dry weight | g | 6 | 0.020 | 0.06 |
| Shoot height | cm | 6 | 1.7 | 4.8 |
| Shoot dry weight | g | 6 | 0.025 | 0.07 |

* The values shown relate to application of the Horwitz equation: r = 2.8 sr

The statistical data shown relate to tests carried out on Zea mays L seeds, Class 300, cultivar Suarta. Since maize cultivars are periodically replaced on the market, it is possible that tests on other Class 300 maize may return different standard deviation values under the same test conditions.

9. Notes

The different modes of action of the product "seaweed-cream filtrate", with or without nutrient solution, identify biostimulant activity that determines an increase in development of the shoot of the seedling with a total absence of nutrient elements (0 % NS) compared to increase development of the root structure in the presence of nutrient elements (50 % NS) to improve the absorption thereof.

The method proposed is potentially applicable to all "Specific-action products – Biostimulants" in fluid form that contain seaweed extract from Ascophyllum nodosum, bearing in mind in all cases that the biostimulant effect of such products (other than seaweed-cream filtrate) can be explained differently from formulation to formulation, potentially acting by increasing the length of the main route, the relative weight (increase in root size) or promoting more rapid growth of the maize shoot.

Application of the method to other fluid seaweed-based biostimulants must therefore include ad hoc dilutions, which must be indicated on the label for the product to be checked, e.g. “Application dose recommended for analytical tests”.

10. Bibliography

Rivera C.M., Salerno A., Trinchera A., Sequi P., Rea E.. (2010). Exploring biostimulant effect of Brassicacea plant extract: use of maize seedling development as reference bioassay. Acta Hort. (ISHS) 884:737-744.

Trinchera A., Rea E., Rivera C.M., Rinaldi S., Sequi P. (2009). Use of biostimulants to front nutrient deficiency. Proceedings of 17th International Symposium of CIEC “Plant nutrient management under stress conditions”, Cairo (Egypt), 24-27 November 2008 (El-Fouly et al., Eds.), pp. 567-573.

Trinchera A., Rivera C.M., Rinaldi S., Salerno A., Rea E., Sequi P. (2010). Granular size effect of clinoptilolite on maize seedlings growth. Open Agriculture Journal. Vol.4, pp. 23-30.

- 5 Determination of triacontanol content

- Subject

This document sets out a method for determining triacontanol in fertilisers.

- Field of Application

The method applies to liquid and solid fertilisers.

- Principle

The principle of the method is based on gas chromatographic analysis of triacontanol (CH3-(CH2)28-CH2OH), or melissyl alcohol, with flame ionisation detection (FID), following derivatisation with a silanisation mixture (trimethylchlorosilane / hexamethyldisilazane / pyridine, 1:3:9).

- Reagents

  - 1-Pure triacontanol for analysis 99.9 %.

  - 1-Pure eicosanol for analysis 99.9 %.

  - Silanisation mixture [trimethylchlorosilane (TCS): hexamethyldisilazane (HMDS): pyridine] = 1:3:9, Sigma-Sil-A or equivalent.

  - Chloroform for analysis.

  - Stock triacontanol solution 1 000 mg/L: weigh 10 mg of triacontanol (4.1) to an accuracy of 0.1 mg, solubilise and bring up to volume with chloroform (4.4) in a 10 mL flask.

NOTICES: Some of the reagents used in this procedure are dangerous and special care should be taken when using them. Avoid contact with the skin and eyes and do not inhale fumes.

Operators are advised to observe the instructions given on the label of the product container and to consult the related safety sheets for specific information on the danger level of the reagents used and the related disposal methods, if necessary.

- Equipment

Normal laboratory equipment, and in particular:

  - 10 µL precision syringes with divisions of 0.1 µL.

  - Calibrated 200, 1 000 and 5 000 μL micropipettes.

  - 250 mL separating funnels.

  - Gas chromatograph with flame ionisation detector (FID), S/SL injector, fitted with SPB-1 capillary column 30 m x 0.25 mm x 0.25 µm df.

  - Rotary vacuum evaporator in a water bath or other suitable evaporation apparatus.

  - Ultra-Turrax homogeniser able to reach a speed of 16 000 r/min or another device capable of properly homogenising solvent and sample (solid fertilisers only).

  - Analytical balance with a sensitivity of 0.1 mg.

- Preparation of the sample

The sample must be prepared according to the provisions of the method "Sample preparation" (UNI EN 1482-2).

- Procedure

  - Calibration of measurement system

Before extracting and/or analysing the samples, prepare a calibration curve comprising at least three suitable reference solutions selected on the basis of the assumed triacontanol content in the sample to be analysed: for example for a concentration of 50 mg/L, prepare three solutions of 10, 50, and 100 mg/L, or in any case such that the assumed content of triacontanol in the sample falls approximately at the midpoint of the calibration curve.

Add a known quantity of 1-Eicosanol, selected in consideration of the calibration curve, to each working solution. The eicosanol (4.2) is used as an internal standard for calibrating the method. It is good practice to add a quantity of eicosanol such that the concentration thereof is close to the centre of the calibration curve.

The lower limit of the measuring range of the calibration curve is 10 mg/L. If the triacontanol content is assumed to be less than 10 mg/L or very close to this value, or if the sensitivity of the analysis is to be increased, the HMDS:TMCS:pyridine silanisation mixture needs to be used for silanisation by adding 50 μL for each mg of assumed triacontanol content.

Chart the ratio between the triacontanol and eicosanol areas (Area ratio) as a function of triacontanol concentration. The correlation coefficient of the triacontanol curve should be greater than 0.99.

To assess the instrument response, calculate the response factor (RF) of the detector for each standard solution of triacontanol prepared, as follows:

RF = As * Pis

Ais * Ps

- As: area of triacontanol peak in standard

Ais: area of eicosanol peak in standard

Pis: weight of eicosanol added to standard, in mg

Ps: weight of triacontanol in standard, in mg

Calculate the mean of the values obtained. The standard deviation percentage (RSD %) of the RF should not be greater than 20 % of the mean value.

Extract the samples having first checked that the calibration curve is correct as described above.

  - Determination

    - Solid fertilisers

Weigh, to an accuracy of 0.1 mg, a quantity of sample equal to 10 g on an analytical balance (5.7) and transfer it quantitatively into a beaker. Add chloroform (4.4) at a ratio of 5:1 to the sample weight. Homogenise with Ultra-turrax (5.6) at at least 12 000 r/min for 5 minutes, with a 15 second pause every minute. Decant the supernatant into a 100 mL graduated flask. Repeat the extraction for a second time with the same quantity of solvent and bring up the volume in a flask, combining the extracts. Add a quantity of 1-eicosanol equal to the quantity used for the calibration curve and inject into the GC system.

    - Liquid fertilisers

The triacontanol is determined by direct injection of the aqueous solution into the column (5.4).

The lower limit of the measuring range of the calibration curve is 10 mg/L.

If the triacontanol content is assumed to be less than 10 mg/L or very close to this value, or if the sensitivity of the analysis is to be increased, the silanisation mixture (4.3) should be used for silanisation by adding 50 μL for each mg of assumed triacontanol content.

Place a known volume of sample in a separating funnel (5.3), add an equal volume of chloroform (4.4) and shake vigorously for at least two minutes by hand or 10 minutes using a mechanical shaker. Once the phases have been decanted, transfer the underlying aqueous phase into a second separating funnel and repeat the extraction. Discard the underlying aqueous phase and combine the extracts in chloroform. Percolate the extracts in a 250 mL flask with a ground-glass neck via a type 2 or 3 porous septum filter funnel filled with sodium sulfate anhydrous. Add the known quantity of the internal standard 1-eicosanol (see point 7.1). Evaporate in a low-pressure rotating water bath at a maximum of 55° C.

Note 1. Triacontanol is heat sensitive, and as such it is very important to control the temperature in this phase.

Add 50 µL of the silanisation mixture (4.3) for every mg of presumed triacontanol to the residue formed at the bottom of the flask. An estimated value can be obtained by calculating the triacontanol content in mg in the volume of sample extracted.

Gently shake the solution to completely dissolve the residue, leave to decant then inject into the GC system.

Note 2. The solution of trimethylsilyl ethers formed in this phase after addition of the mixture may be opalescent and cause the formation of a slight precipitate, although this phenomenon does not cause any particular problems for GC analysis.

Note 3. Trimethylsilyl ethers are known to be highly unstable and therefore the solution thus formed must be kept refrigerated until the test is performed. Furthermore, once prepared, they must be analysed as soon as possible.

  - Operating conditions

- INJECTOR: 250 °C

OVEN: 240 °C (hold 2 min)  ramp 5 °C/min  310 °C (hold 15 min)

DETECTOR: base temp: 350 °C

H2: 35 mL/min

Air: 350 mL/min

Makeup: 50 mL/min (N2)

CARRIER GAS He: 1.4 mL/min

- The triacontanol retention time is approximately 13.9 min.

- Expression of results

Determine the triacontanol concentration from the calibration curve. If the sample is a solid fertiliser, determine the triacontanol content as follows:

T (mg/kg) = c * V

P

where:

c: is the triacontanol content in the extract, in mg/L

V: is the extraction volume in mL (if the extract was subject to evaporation, use the final volume after evaporation).

P: is the mass of the sample, in grams.

Express the result as a decimal numeral.

- Repeatability

9.1 Narrow repeatability

The difference between the results of two determinations carried out in parallel on the same sample must not exceed the value r given in the table. The value r for the concentration of active substance in the sample, equal to c, is determined using the following relationship:

r = 0.11 x c +1.96

9.2 	Reproducibility

No data are available on reproducibility.

- Detection limit

Concentrations of triacontanol can be detected up to concentrations of 0.1 %.

- Recovery

Recovery for different concentration levels is given in the table below:

| Concentration (mg/Kg) | 20 | 40 | 60 | 80 | 100 |
| --- | --- | --- | --- | --- | --- |
| Recovery (%) | 97.9 | 97.5 | 96.9 | 98.3 | 96.9 |

- Regulatory framework

UNI EN 1482 – 2 Fertilisers and liming materials. Sampling and sample preparation – Part 2: Sample preparation.

- Bibliography

Determination of aliphatic alcohol content by capillary gas chromatography – IOC (International Olive Oil Council).

- 6 Determination of lead content in fertilisers using inductively coupled plasma atomic emission spectroscopy (ICP/AES)

NOTICES: Some of the reagents used in this procedure are dangerous and special care should be taken when using them. Avoid contact with the skin and eyes and do not inhale fumes.

Operators are advised to observe the instructions given on the label of the product container and to consult the related safety sheets for specific information on the danger level of the reagents used and the related disposal methods, if necessary.

- Subject

This method describes an analytical procedure for determining extractable lead in aqua regia in fertilisers.

- Field of Application

The method is applicable to all the products listed in Annex 1, 2 and 3 of Legislative Decree 75/2010 (organic and organo-mineral fertilisers, soil improvers and conditioners) for which total lead content needs to be determined.

- Regulatory framework

3.1	Legal provisions

3.1.2 Legislative Decree 75 of 29 April 2010 on the reorganisation and revision of provisions relating to fertilisers, pursuant to Article 13 of Law 88 of 7 July 2009 – Ordinary Supplement 106/L of the Official Journal of the Italian Republic (GURI) 121 of 26 May 2010;

3.1.3 Ministerial Decree of 17 June 2002, Supplement No 7, Official Journal (GU) 22 of 19 September 2002.

3.2	Technical standards

3.2.1 EN ISO 3696:1995, Water for analytical laboratory use — Specification and test methods;

3.2.2 ISO 8466-1: Water quality-Calibration and evaluation of analytical methods and estimation of performance characteristics. Part 1: Statistical evaluation of the linear calibration function;

3.2.3 ISO 11843: Capability of detection-Part 1: Terms and definition;

3.2.4 ISO 11843: Capability of detection-Part 2: Methodology in the linear calibration case;

3.2.5 CEN/TS 16319:2012-04 Fertilisers - Determination of trace elements – Determination of cadmium, chromium, lead and nickel by inductively coupled plasma atomic emission spectrometry (ICP-AES) after aqua regia dissolution;

3.2.6 UNI EN 1482 – 2 Fertilisers and liming materials. Sampling and sample preparation - Part 2: Sample preparation.

- Terms and definitions

The method only uses terms widely known in fertiliser analysis laboratories.

- Reactions and interferences

Depending on its origin, interference is identified as chemical, physical or spectral (background or line). Line interference is caused by the overlapping (partially or totally) between the line of the element of interest with the line of another element. This overlapping may be "virtual", as it is caused by the low resolution of the spectrometer, or real, i.e. due to the fact that the interfering line falls within the width of the line of interest. Interference caused by lines overlapping cannot always be corrected and in any case reduces the accuracy of the related measurement. For this reason, it is always better to use a measurement line with no interference.

It is possible to mitigate the effect of interference and improve the quality of the datum by preparing standard working solutions containing the same quantities of acids present in the solutions of the test aliquots, or by using equations to correct the interfering element, or by using an internal standard, or by carrying out the test of the dilutions or the method of adding standards and recovery tests.

- Principle

The method is based on measurements using inductively coupled plasma atomic emission spectroscopy (ICP/AES) of the emission intensity, performed simultaneously or sequentially, of electromagnetic radiation associated to the atom/ion content of the solution obtained, with an acid digestion process, from the test aliquot of a sample.

- Reagents

All reagents must be analytical grade. The solutions must be prepared with distilled or demineralised water (grade 2 in standard UNI EN ISO 3696:1995).

7.1 Hydrochloric acid (HCl) 37 % p/p (d20°C =1.184);

7.2 Nitric acid (HNO3) 65 % p/p (d20°C=1.400);

7.3 Nitric acid (HNO3) 2 % v/v

Add 20 mL of HNO3 (7.2) to a 1 000 mL graduated flask and bring up to volume with distilled water.

7.4 Standard lead solution (Pb) 1 000 mg/L

Weigh, to an accuracy of 0.1 mg, in a 1 000 mL flask, 1.5985 g of Pb(NO3)2. Add 10 mL of HNO3 (7.2) and bring up to volume with distilled water. Alternatively, certified standard solutions may be used.

7.5 Working standard lead solution (Pb) 10 mg/L

Use a pipette (8.5) to take 5 mL of the solution (7.4) and transfer to a 500 mL flask. Bring up to volume with HNO3 (7.3).

7.6 Calibration solution

Use a pipette (8.5) to take 0, 1, 2, 5, 10 and 20 mL of the working standard solution of Pb 10 mg/L (7.5) and transfer respectively into six 100 mL flasks. Bring up to volume with the solution of HNO3 2% v/v (7.3). The solutions thus obtained have Pb concentrations of 0, 0.1, 0.2, 0.5, 1.0 and 2.0 mg/L respectively. The calibration solutions are stable for one month if kept at +4 °C in polyethylene bottles.

The concentrations in mg/L of the calibration solutions must be such that they fall within the linearity range of the instrument.

- Equipment

Normal laboratory equipment, plus:

8.1 Sieves with 0.5 mm mesh;

8.2 Hermetically sealing 250 mL glass recipients;

8.3 Analytical balance with a 0.1 mg scale division;

8.4 Hot plate;

8.5 Calibrated pipettes from 1 mL to 20 mL;

8.6 Ashless filter papers, such as Whatman grade 589/2 or equivalent quality;

8.7 Allihn condenser;

8.8 Inductively coupled plasma atomic emission spectrometer (ICP/AES).

- Sample preparation

The sample must be prepared according to the provisions of the method "Sample preparation" (UNI EN 1482-2).

All of the crushed and sieved product is kept in a clean glass recipient (8.2). Before weighing a test aliquot, the content of the recipient (8.2) must be accurately homogenised.

- Procedure

- Preparation of test aliquot on hotplate

Weigh, to an accuracy of 0.1 mg, 3 g of sample prepared in accordance with the provisions of point 9 and transfer to a beaker with ground-glass neck with a capacity of 250 mL. Add 1 mL of water and shake. Add 21 mL of hydrochloric acid (7.1), 7 mL of nitric acid (7.2) and leave the suspension to stand for approximately 30 minutes, to enable the potent initial effervescent reaction to finish. Connect the condenser (8.7) to the beaker and bring slowly to the boil with reflux for two hours. Check that the condensing zone does not exceed 1/3 of the height of the condenser. Once mineralisation is complete, the solution should be clear. Wash the pipe of the condenser (8.7) with 10 mL of distilled water, which is added to the flask containing the sample.

Quantitatively pour the suspension into a 100 mL flask, cool and bring up to volume with distilled water.

Accurately homogenise, filter using a low-ash filter, discarding the first fractions filtered, then test the clear phase.

Use a pipette (8.5) to take an aliquot of the solution and dilute with HNO3 to 2 % v/v (7.3) to a volume that ensures that the assumed concentration of the element generates a response from the spectrometer (8.8) that is within the calibration range. Filter the solution to be analysed through filters (8.6) before reading with the spectrometer.

  - Preparation of the analytical blank solution

The analytical blank solution is used to identify possible interferences related to the extraction and filtration processes. A solution should therefore be prepared containing all of the reagents used in preparation of the sample being tested added in the same quantities.

  - Calibration of measurement system

Optimise the instrumental parameters of the spectrometer (8.8) according to the operating manual of the instrument, starting the reading when it is thermally stable using the 220.35 nm wavelength.

Form the calibration curves, checking that the detection limits and the instrumental linearity ranges, set respectively pursuant to ISO 11843-1,2 and ISO 8466-1, are appropriate for the objectives described in point 1. Read the reference solutions in sequence (7.6).

  - Determination

Read in sequence the analytical blank solution and the solutions prepared from the test aliquot, previously filtered through a filter (8.6), taking care to flush the measurement system, between successive readings, with the nitric acid solution 2 % v/v (7.3) for approximately 1 minute. Determine the concentrations of the elements of interest, expressed in mg/L, from the corresponding calibration curves.

Check the quality of the product data, checking the performance of the instruments by analysing with reference material.

- Calculation and expression of results

The total lead content is determined using the following expression:

where:

C: Lead content in the fertiliser expressed in mg/kg;

A: concentration [mg/L] of the analyte determined from the calibration curve in the sample solution;

B: concentration [mg/L] of the analyte determined from the calibration curve in the analytical blank solution;

V: extract volume [L];

D: Dilution factor;

P: mass [kg] of test aliquot.

- Statistical parameters

The data available on the repeatability (r) and reproducibility (R) of the method set out in Table 1 concern the inter-laboratory tests cited in document CEN/TS 16319:2012-04.

Table 1. Mean value, limits of repeatability and reproducibility in determining lead

| Sample | mg/kg | r mg/kg | R mg/kg |
| --- | --- | --- | --- |
| Triple superphosphate | 4.5 | 1.0 | 6.7 |
| Phosphorite | 17.7 | 2.8 | 10.2 |

7 Determination of δ-aminolevulinic acid in fertilisers using reversed phase HPLC

1. Subject

The method enables the δ-aminolevulinic acid content in fertilisers to be quantified.

2. Field of Application

The method is applicable to liquid and solid foliar fertilisers. The measuring range is between 0.02 and 0.2 % δ-aminolevulinic acid in the sample.

3. Principle

The method is based on pre-column derivatisation of δ-aminolevulinic acid with acetylacetone and formaldehyde, with formation of a derivative measurable with a fluorescence detector, after separation in a reverse-phase HPLC column.

4. Reactions and interferences

Ureic nitrogen may interfere with the measurement. The method is applicable to samples having a pH of more than 3.0.

5. Reagents

During analysis, use distilled or demineralised water of equal purity and reagents of recognised analytical quality.

5.1	δ-aminolevulinic acid (NH2CH2C(O)CH2CH2COOHHCl) hereinafter written δ-ALA

5.2	Acetylacetone RPE

5.3	Absolute ethanol RPE

5.4	Sodium chloride RPE

5.5	Formaldehyde, 37 % v/v solution

5.6	Methanol for HPLC

5.7	Acetic acid, 1.5 % v/v solution

Pour 15 mL of the glacial acetic acid into a 1 000 mL flask and bring up to volume with water.

5.8	 Solution A for preparing the derivative

Mix 15 mL of acetylacetone with 10 mL of ethanol, add approximately 50 mL of water and 0.4 g of sodium chloride. Mix accurately and bring up to 100 mL with water.

5.9 Solution B for preparing the derivative

Take 9 mL of the formaldehyde solution and place into a 100 mL graduated flask and bring up to volume with water.

5.10	 Standard 500 mg/L solution of δ-ALA

Weigh, to an accuracy of 0.1 mg, 50 mg of δ-ALA (5.1) in a 100 mL flask. Solubilise and bring up to volume with water.

5.11 Reference solution for calibration

Use a precision pipette to transfer 0, 1, 2, 3 and 4 mL of standard δ-ALA solution (5.10) into a series of calibrated 100 mL flasks and bring up to volume with water.

The solutions thus prepared contain respectively 0, 5, 10, 15 and 20 mg/L of δ-ALA.

5.12	Eluant solution (mobile phase for HPLC)

Place 400 mL of methanol (5.6) and 600 mL of the aqueous solution of acetic acid (5.7) into a 1 000 mL flask.

NOTICES: Some of the reagents used in this procedure are dangerous and special care should be taken when using them. Avoid contact with the skin and eyes and do not inhale fumes.

Operators are advised to observe the instructions given on the label of the product container and to consult the related safety sheets for specific information on the danger level of the reagents used and the related disposal methods, if necessary.

6. Equipment

Normal laboratory equipment, and in particular:

6.1 10-mL glass test tubes with screw caps

6.2 HPLC equipment with fluorescence detector

6.3 Column for HPLC Inertsil ODS-2, 4,6x150 mm “reversed phase”

7. Preparation of the sample

The sample must be prepared according to the provisions of the method “Sample preparation” (UNI EN 1482-2).

8. Procedure

8.1 Solution preparation

Weigh, to an accuracy of 0.001 g, 1 g of sample in a 100 mL flask, dissolve and bring up to volume with water.

8.2 Derivative preparation

Transfer to the glass test tubes (6.1) 50 µL of diluted sample or 50 µL of the reference solutions containing 0, 5, 10, 15 and 20 mg/L of δ-ALA. Add 3.5 mL of solution A (5.8) and 0.45 mL of solution B (5.9). Cover the test tubes and place them in a boiling water bath for 30 minutes. Then move them quickly to an ice bath. Test the solution after five minutes' cooling.

8.3 Operating conditions

Mobile phase: eluant solution (5.12)

Flow speed: 1.0 mL/min

Injection volume: 10 µL

Column temperature: 40°C

Detection wavelength: excitation λ 363 nm and emission λ 473 nm

8.4 Calibration of the measurement system and determination

Calibrate the instrument with the derivatised solutions containing 0, 5, 10, 15 and 20 mg/L of -ALA.

Analyse the solutions derived from the sample.

9. Expression of results

The concentration of -ALA in the sample being tested is given by:

where:

C: concentration, expressed in mg/L, of -ALA in the solution derivatised from the sample

p: weight, expressed in grams, of the fertiliser sample.

Note. Since all of the solutions being tested (reference solutions and sample solutions) are subjected to the derivatisation procedure under fixed, constant dilution conditions (50 µL diluted to final 4 mL), this change need not be taken into account when preparing the calibration curve.

10. Statistical parameters

10.1 Narrow repeatability

The difference between the results of two determinations carried out in parallel on the same sample must not exceed the value r. The value of r, for a -ALA content in the sample of 0.1 % m/m, is 0.031 % m/m.

  - Reproducibility

No data are available on reproducibility.

11. Recovery

Recovery for the concentration levels of 0.01 % is 101 %.

12. Regulatory framework

UNI EN 1482 – 2 Fertilisers and liming materials. Sampling and sample preparation – Part 2: Sample preparation

13. Bibliography

A. Okayama, S.Fujll, R. Miura “Optimised Fluorometric Determination of Urinary δ- aminolevulinic Acid by Using Pre-Column Derivatisation, and identification of the Derivative”, clinical Chemistry, vol. 36, n° 8, 1990.

8 Determination of respiration rate of soil improvers and growing media.

1. Subject

This document describes a biological method (respirometric) for determining the biological activity (stability) of the organic substance of biological origin in soil improvers, organic matrices and organic fertilisers.

2. Field of Application

The method is applicable to soil improvers, with the exception of artificial manure, and to growing media, sifted at 8–10 mm. The method enables a 2 g sample of volatile solids to be analysed.

3. Principle

The material to be analysed is suspended in water in a hermetically sealed container. The respiration rate is determined by measuring the pressure variation in the head space of the container. The CO2 produced is trapped by a suitable adsorbent material. The measurement is taken in predetermined conditions.

The related literature contains many methods for measuring the stability of the organic substance, which is generally defined as its capacity to resist microbial degradation in aerobic environments. Stability can be determined through i) CO2 production, ii) measuring O2 consumption, or iii) heat generation.

Higher levels of stability correspond to lower levels of degradation. Degradation of the organic substance (CaHbOcNd) can be represented by the following equation (ignoring stoichiometric coefficients):

CaHbOcNd + xO2 +yNH4+  aCO2 + zH2O + ΔH + X		eq. (1)

Where: ΔH is the generation of heat (kJ), and X represents the microbial biomass.

The stoichiometry of the reaction depends on the type of substrate. For glucose (C6H12O6) these are:

- Oxygen consumption: 1.07 kg of O2 kg-1 volatile solids(SV) of the substrate;

- CO2 production: 1.47 kg of CO2 kg-1 SV;

- H2O production: 0.6 kg H2O kg-1 SV;

- Heat generation: 16 MJ kg-1 SV.

The equation (1) shows how degradability (or stability) can be deduced by measuring O2 consumption, CO2 production or heat generation.

The stability of the organic substance can only be determined under optimal conditions for degradation in the bacterial population and when the stability of the organic substance itself is the only factor limiting respiratory activity. These conditions are satisfied when:

- The entire surface is surrounded by the microbial attack, this condition being satisfied when the sample is suspended in water;

- The availability of the nutrient elements must not be limiting, and as such macro-and micro-elements should be provided;

- The pH of the solution must be optimal and stable, and is therefore buffered;

- Other O2 consumption paths must be eliminated: nitrification, which represents the most significant process, is inhibited using N-Allylthiourea;

- The mass transfer of O2 from the gas phase to the liquid phase must not be limiting (Rudrum, 2005).

The main disadvantages of mineralisation carried out in the ground are:

- The surface is not always completely exposed to the microbial attack since there are aggregates. Furthermore, moisture content and system density have a significant influence;

- The conditions listed above often result in a reduction in oxygen diffusion. In this case, the maximum oxygen uptake rate (OUR) will not be achieved;

- The addition of nutrient elements and other compounds becomes more problematic in solid matrices.

These considerations suggest that determination in liquid environments permits adoption of all of the elements required to maximise the bacterial response. Furthermore, this helps to considerably reduce the times required for incubation.

4. Reagents

4.1 Distilled water

4.2 Macronutrient solution containing: NH4Cl (4.31 g L-1), CaCl2·2H2O (5.39 g L-1), MgSO4·7H2O (4.31 g L-1), FeCl3·6H2O (0.03 g L-1).

4.3 Micronutrient solution containing: FeCl3·4H2O (2 000 mg L-1), CoCl2·6H2O (2 000 mg L-1), MnCl2·4H2O (500 mg L-1), CuCl2·2H2O (30 mg L-1), ZnCl2 (50 mg L-1), H3BO3 (50 mg L-1), (NH4)6Mo7O24·4H2O (90 mg L-1), Na2SeO3·5H2O (100 mg L-1), NiCl2·6H2O (50 mg L-1), EDTA (1 000 mg L-1); or alternatively a micronutrient solution containing: 5.0 g L-1 EDDHA 6 % iron chelate, 1.4 g L-1 MnSO4, g L-1 ZnSO4, 4.2 g L-1 Na2B4O7, 0.2 g L-1 CaSO4, 0.13 g L-1 Na2MoO4, 1 mL L-1 HCl (36 %).

4.4 Phosphate buffer pH 7.0. Prepare a solution of KH2PO4 86 g L-1 and a solution of Na2HPO4·2H2O 89 g L-1, mix at a ratio of 1:1 to obtain a pH = 7.0. The solution is stable for two months at 3±2°C.

4.5 N-Allylthiourea ATU (C4H8N2S) (prepare a stock solution containing 4 g L-1).

4.6 Soda lime with indicator.

4.7 NaOH (0.5 M).

4.8 HCl (0.5 M).

5. Equipment

Normal laboratory equipment, and in particular:

5.1 Schott® bottles, 1 000-2 500 mL.

5.2 Container for soda lime (CO2) trap such as porous Teflon® (see note 8.1) including a cap with gasket for attaching a pressure sensor (5.4).

5.3 Schott GL 45 lined cap.

5.4 Pressure sensors with adapters for Schott® bottles (OxiTop® WTW, Germany):

Pressure sensing range: 500 – 1 350 hPa;

Precision: ±1 hPa;

Capacity to record data every 2–4 hours as a function of settings.

5.5 Controller and data logger. For pressure sensors, complete with computer connection cable for data transfers (Controller OC100®, WTW Germany).

5.6 Software for transferring data from the controller to the computer.

5.7 Refrigerated thermostat with tolerance of  0.1 °C.

5.8 Adjustable orbital shaker.

5.9 Automatic pipettes (Gilson) from 1 mL to 10 mL.

5.10 Computer with a calculation program (for example Excel) or scientific calculator able to calculate the equation of a regression line.

5.11 Electronic scales with precision of at least 0.001 g.

5.12 Laboratory oven (105°C).

5.13 Muffle.

5.14 Sieve 8-10 mm.

5.15 Quartz Crucible.

5.16 Ordinary laboratory equipment and glassware.

6. Procedure

6.1 Sample preparation.

The fresh sample should be analysed for humidity and volatile-solid content.

Place 5-10 g of fresh sample sifted through 8-10 mm into quartz crucibles and determine the humidity thereof at 105 °C for 48 h. Then determine the volatile-solid content of the same sample in a muffle at 550 °C for four hours. Perform the tests in triplicate.

Once the data relating to volatile solids has been obtained, calculate the quantity of fresh sample corresponding to a maximum of 2 g of volatile solids and place in a 1 L Schott bottle.

6.2 Adding solutions to the sample

Add the following in sequence to the sample placed in the bottle:

- 180 mL of distilled H2O;

- mL of buffer solution;

- mL of nutrient solution (Macronutrients);

- 0.2 mL of nutrient solution (Micronutrients);

- 2.5 mL of ATU solution (4 g L-1) to achieve a final concentration of 50 mg L-1.

6.3 Preparing the incubation

Once all of the reagents and the sample have been added, the pH of the solution should be checked, and it should be around 7. If it is not, it should be adjusted with small quantities of NaOH (4.7) or HCl (4.8). The container can then be hermetically sealed. Place the CO2 trap containing the soda lime in the mouth of the bottle and secure it with the Schott G42 cap.

Apply the OxiTop® head to the CO2 trap. Once these operations have been completed, activate the OxiTop® heads, which will begin to collect pressure data inside the bottle.

Once the bottles have been closed, the analysis is deemed to have started (see note 9.1). The standard duration of this analysis is 7 days.

6.4 Data transfer

After one weeks' incubation, the data can be collected from the OxiTop® heads using the controller (5.5) fitted with an infrared port and transferred to a computer using the connection cable. Here they can be converted into Excel files using the program provided for in point 5.6 and prepared for subsequent calculation phases.

7. Expression of results

The stability of the sample is measured by calculating the cumulative oxygen uptake (COU) in mmol O2 kg-1 SV using the ideal gas law

pV = nRT

where p = Pressure of the gas;

V = volume occupied by the gas;

n = number of molars in the gas;

R = Ideal gas constant (the value of which varies as a function of the measurement units adopted to express the other magnitudes in the equation);

T = Temperature expressed in kelvin.

The cumulative oxygen uptake (COU) in mmol O2 kg-1 SV) is calculated using the following equation:

where:

# COU = Cumulative Oxygen Uptake (in mmol O2 kg-1 SV);

p = Pressure difference of the gas inside the bottle (mbar or hPa);

R = Ideal gas constant (83.14 L hPa K-1 mol-1)

T = Incubation temperature (°C);

Vgas = Gas volume (mL);

M = Sample mass (kg);

ST = Total solids (% weight);

SV = Volatile solids (% weight).

Gas volume (Vgas, in mL) can be calculated using the following equation:

Vgas=Vbottiglia−M ⋅ ST ⋅ 10000ρ−Vliquido

where:

Vbottiglia = Total volume of the bottle (mL);

Vliquido = Sum of the volumes of all of the liquids, in mL (water, nutrient solutions, buffer solution, ATU);

 = Density (kg m-3);

Vgas=Vbottiglia−M ⋅ ST ⋅ 10000ρ−Vliquido

The Oxygen Uptake Rate (OUR or respiration rate in mmol kg-1 SV h-1) can be calculated from the slope of the line in the region in which degradation is constant (see note 9.2) using the following equation:

or

RespirationRate=Total Oxygen Consumption (Δt)Δt

Or by calculating the slope of the linear regression line using a calculation tool such as Excel.

8. Repeatability of results

The error in oxygen uptake per unit of time, determined by the dispersion of the data with repeated measurements on known organic samples to produce slight interference and standardised for granulometry, is estimated to be ±10 %.

9. Notes

9.1 The CO2 traps provided by the parent company are not suitable for incubation with such a large quantity of organic substance ( 2 g), which release a significant amount of CO2. Type 812S Porous Teflon® caps (length 62 mm; diameter 27/21.88) supplied by the company Polyfluor Plastics BV www.polyfluor.nl are therefore required.

9.2 Typically, incubations undertaken using this method have four phases reflecting the trend in system pressure:

The first phase consists of a variation in the internal pressure caused by the difference in temperature between the laboratory and the incubator. To prevent this drawback, it is recommended that the bottles be shaken (120 revolutions per minute) on the orbital shaker inside the thermostatic incubator at 25 °C, and left for 60 to 120 minutes to enable the liquid to reach equilibrium with the temperature of the incubator. After this period, open the bottles for a few seconds to balance the pressure of the gas in the headspace, which changes with the variation in temperature between the laboratory and the incubator.

The second phase involves a period of adaptation to the new environment provided by the incubator. All microorganisms typically have the following feature: in this phase, the factor limiting degradation of the organic substance is microbial growth. This period can be shortened using an inoculum.

The third phase involves degradation of the organic substance in the sample, in which the stability thereof is the only limiting factor. The respiration rate is determined by the linear regression of the COU in this period.

The fourth and final phase is determined by the potential lack of oxygen in the system, which could become a limiting factor on the degradation rate. The quantity of oxygen in the head space is limited and defined by the dimensions of the bottle. It follows that, to prevent formation of an anaerobic environment that would limit degradation, the quantity of oxygen must be kept at least 10 % at all times.

9.3 	Typically 2 g of volatile solids can be used in the analysis. If however, during the first three days of incubation the pressure drop is less than 20 hPa, the sample quantity can be increased to a maximum of 20 g total solids. On the other hand, it can be reduced to 1 g if during the same time period the pressure drop is greater than 50 hPa.

9.4 	Many factors can interfere with oxygen uptake measurements during incubation. The most significant is the possible chemical demand for O2 for potential nitrification processes, and it is inhibited using a specific inhibitor (ATU). Interference may be caused by oxidisation of reduced compounds of iron and sulfur, and this cannot currently be neutralised. Consequently, this method is not recommended for samples that have a high content of these compounds, typically organic fertilisers which may be supplemented by iron- and sulfur-based compounds.

10. Regulatory framework

UNI EN 16087-1 - Soil improvers and growing media. Determination of the aerobic biological activity. Part 1: Oxygen uptake rate (OUR)

11. Bibliography

American Public Health Association (1992). Standard Methods for the Examination of Water and Wastewater. 5210 - Biochemical Oxygen Demand (BOD).

Rudrum, D.P. (2005) Innovations in composting pig manure. PhD thesis Wageningen University, Wageningen, The Netherlands, pp. 170.

Grigatti M., Dios Pérez M., Blok W.J., Ciavatta C. and Veeken A. (2007). A standardised method for the determination of the intrinsic carbon and nitrogen mineralisation rates of natural organic matter sources. Soil Biol Biochem. 39(7): 1493-1503.

9 Determination of isotope ratio of carbon (13C/12C) and nitrogen (15N/14N)

1. Subject

This document describes a method for determining the isotope ratio of carbon (13C/12C) and of nitrogen (15N/14N) in fertilisers. The method is used to characterise the fertiliser and/or matrix or matrices, and to improve traceability.

2. Field of Application

This method can be used with all solid and fluid fertilisers.

3. Terms and definitions

13C/12C; 15N/14N: isotope ratio of carbon 13 and carbon 12 or nitrogen 15 and nitrogen 14 for a given sample. This value is also defined as R.

δ13C; δ15N: 13C or 15N content expressed as parts per 1 000 (‰) in relation to the universal reference standard.

V-PDB; N2air: Vienna Pee Dee Belemnite (PDB) and atmospheric N2 are the universal reference standards for measuring the isotope ratio of C and N respectively, and all measurements are expressed with reference to these standards. For C, this standard is calcium carbonate from a cretaceous belemnite from the Pee Dee formation in South Carolina (USA), RPDB is 0.0112372. For N, the universal reference standard is atmospheric N2, which has a constant isotopic composition, Rair = 0.003676.

Reference material calibrated to the universal standards are available from the International Agency of Atomic Energy (IAEA) in Vienna, Austria.

4. Principle

The isotopes of an element have small differences in their physical and chemical properties caused by their different masses. For elements with a low atomic number, these differences in mass are sufficiently large that thermodynamic reactions or biological processes may cause isotope fractionation, i.e. they may change the relative proportion of the different isotopes of the same element in different compounds (reagents and products of the reaction). Isotope fractionation may occur in systems at equilibrium (equilibrium effects) and involve an exchange of isotopes between each of the two molecular species or phases involved in a reaction. The reaction may be a simple change of state or a chemical transformation.

Isotope fractionation also occurs following incomplete or unidirectional processes, such as evaporation, dissociation reactions, diffusion and biochemical reactions. This type of unidirectional reaction (non-equilibrium effect) generally results in preferential light-isotope enrichment in the products of the reaction. In particular, living organisms, through their metabolic activity, always produce unidirectional isotope fractionation (non-equilibrium effects). Isotope fractionation caused by metabolic activity, however, can also be the result of both types of fractionation due to systems in equilibrium and unidirectional reactions. The isotopic composition of a substance is therefore the result of the isotopic composition of the original material and of the physical, chemical and biochemical transformations that it undergoes over time.

The 13C content is measured in the CO2 gas that forms following the complete combustion of the sample. The main isotopomer masses 44 (12C16O2), 45 (13C16O2) and 46 (12C18O16O) are ionised at the entrance of the spectrometer and accelerated by an electrical field that produces an ion current that is deviated by a magnetic field. The deviation is a function of the different mass/load ratio (m/z) of the ionised molecules. The current supplied by the ions of each isotopomer, proportional to the abundance thereof, is measured by three different Faraday cups. The isotope ratio 13C/12C is determined by the ratio of the intensities of m/z = 45 and m/z = 44 after the corrections for the isobaric species 12C17O16O, the contribution of which can be calculated as a function of the intensity of the current measured for m/z = 46 and the relative abundance of 18O and 17O (Craig correction). Similarly, the 15N content is measured in the N2 gas derived from the complete combustion of the sample and reduction of the oxides of N to N2. The isotopomers of interest in the case of N have mass 28 (14N14N), 29 (15N14N). The isotope ratio 15N/14N is determined by the ratio of the intensities of m/z = 29 and m/z = 28. Comparison with laboratory standards calibrated to the universal reference standards makes it possible to calculate and express the 13C and 15N content of a sample in terms of unit δ (‰).

5. Reagents

The materials and consumables depend on the equipment used by the laboratory. The systems used for combustion of the sample are usually based on CHN analysers. These systems can be prepared to receive samples placed in sealed metal capsules or for injections of liquid samples.

Depending on the type of instruments used, the following reference material, reagents and consumables may be used:

5.1 Reference material available from the IAEA (examples):

| Name | Material | δ13C in relation to V-PDB | δ 15N in relation to Air |
| --- | --- | --- | --- |
| IAEA-CH-6 | Sucrose | –10.4 ‰ |  |
| IAEA-Acetanilide | Acetanilide | –29.66 ‰ |  |
| IAEA-GA | Glutamic acid | –20.85 ‰ | –6.07 ‰ |
| USGS40 | L-glutamic acid | -26.39 ‰ | -4.5 ‰ |
| IAEA-N1 | Ammonium sulfate |  | 0.43 ‰ |
| IAEA-N2 | Ammonium sulfate |  | 20.32 ‰ |
| IAEA-NO-3 | Potassium nitrate |  | 4.7 ‰ |

5.2 Working standard

5.2.1 Carbon dioxide (CO2) of suitable purity, as a secondary reference gas for measuring δ 13C.

5.2.2 Nitrogen (N2) of suitable purity, as a secondary reference gas for measuring δ 15N.

5.2.3 Working standard and internal control standard with δ13C and δ 15N reference values calibrated in relation to the international reference materials.

5.3 Consumables

Sample consumables for continuous-flow systems are listed below.

5.3.1 Copper oxide (CuO) for microanalysis, granular.

5.3.2 Reduced copper (Cu) for microanalysis, in coils or wires.

5.3.3 Chromium oxide (III) for microanalysis, granular.

5.3.4 Magnesium perchlorate (Mg(ClO4)2) for microanalysis, granular.

5.3.5 Gaseous oxygen (O2) with a purity of at least 99.995 %.

5.3.6 Gaseous helium (He) with a purity of at least 99.999 %.

5.3.7 Single-use tin capsules, dimension 5 (i.d.) x 8 (h) mm or similar.

5.3.8 Quartz wool.

5.3.9 Chromosorb (inert absorbent material for testing on fluid samples).

5.3.10 Spoons.

5.3.11 Tweezers.

5.3.12 Pasteur pipette.

Note: Laboratories may use different materials and/or reagents as a function of their own instruments, provided the minimum performance levels required by this method are guaranteed.

6. Equipment

6.1	Isotope ratio mass spectrometer (IRMS).

The isotope mass spectrometer makes it possible to determine the relative content of 13C in CO2 and 15N in N2 with an internal accuracy, expressed as a standard deviation of 10 measurements of the same sample of standard gas, not greater than 0.08 ‰.

The instrument must be provided with a continuous-flow system that transfers the CO2 and/or N2 from combustion of the samples and the working standards to the mass spectrometer.

6.2	CHN analyser

The CHN analyser, through dry combustion in the presence of oxygen, makes it possible to quantitatively convert the C and N of the sample into CO2 and N2, to eliminate the other products of the combustion, including water, and to separate the two gases formed.

The analyser can in turn be configured with an autosampler for solids or for liquids. The first is preferable in that it enables both types of sample (solid and liquid) to be analysed.

6.3 Precision scales with a minimum scale division of 10 µg.

# 7. Preparation of the sample

7.1	Preparation of solid sample

Use the precision scales (6.3) to weigh out an aliquot of air-dried sample finely crushed (< 250 micron) in the tin capsules (5.3.7).

Close the capsule with the tweezers (5.3.11), taking care not to break it or to touch it with your hands.

Note down the weight when the capsule is closed.

7.2	 Preparation of fluid sample

Place a little Chromosorb (5.3.9) in the tin capsule so that there is a layer of inert material on the base of the capsule. Determine the tare weight of the capsule with the Chromosorb. Use a Pasteur pipette or similar to put a small aliquot of fluid sample in the capsule.

Close the capsule with the tweezers (5.3.11), taking care not to break it or to touch it with your hands.

Note: The quantity of sample to be weighed typically varies from several hundred micrograms to a few milligrams depending on the assumed content of C and/or N in the sample. Accordingly, it may be useful to run a few test analyses to determine the optimal quantity of sample to be weighed such that the CO2 or N2 signal in the spectrometer is as close as possible to the signal of the reference standard gas.

The signal may be injected using syringes, potentially using a liquid autosampler for liquids, in consideration of the conditions set out above.

7.3	Cleaning working tools

Carefully wash the tweezers and spoon between samples using distilled water and ethanol.

7.4	Preparing blanks

The blank is an empty capsule.

7.5	Preparing the standard

Use the precision scales to weigh out a suitable number of capsules containing the working standard and internal control standard (5.2.3), to obtain a quantity of C and/or N of the standard, to ensure that the signal is as close as possible to the sample signal.

8. Analysis procedure

8.1	Instrument checks

- For optimum sample combustion, adjust the temperature of the ovens	 of the CHN analyser 	and the flows of gaseous helium and oxygen.

- Begin an analysis sequence of at least 9/10 injections of CO2 or N2 working standard gas. The standard deviation must be less than 0.15 °/oo;

- Check the efficiency of the combustion flash of the analyser by testing an empty capsule;

- Before beginning measurements on samples, check the system using working material and internal control material.

8.2	Sequence preparation

The analysis procedure is managed using software. The sequence of samples to be analysed is determined on the management software of the isotope mass spectrometer using the criteria that provides for, in order, an initial blank, at least two standards, the samples and at least two more standards at the end of the sequence. At least three repetitions are analysed for each sample.

9. Measurement accuracy and expression of results

9.1 Measurement accuracy

Bearing in mind that there may be small changes during on-line measurement due to variations in the instrument conditions, the laboratory should have suitable analysis procedures to ensure the accuracy of the measurement and the referability to the international reference standards, including by using control and internal working standards.

Note: The following procedure is provided by way of example. The experimental values for δ 13C or δ 15N of the samples must be correct on the basis of the difference between the value of the working standard and the real value thereof, previously calibrated to V-PDB by comparison with an international reference material. In this case, the correction to be made to the samples varies in a linear fashion in relation to the change in the value of the two working standards preceding and following the samples themselves. The working reference needs to be measured at the beginning and at the end of each series of samples. A correction can then be calculated for each sample by means of a linear interpolation between the two values (the difference between the value assigned to the working standard and the measurements of the values obtained).

9.2 Expression of results

The isotope ratio value calculated by the software and possibly corrected as indicated above, is expressed as delta units per thousand (δ ‰).

For C:

δ 13C ‰ = [(Rsample /Rstandard) – 1] x 1 000

Rsample and Rstandard is the isotope ratio 13C/12C of the sample and of the standard respectively. The universal reference standard for C is the Vienna Pee Dee Belemnite (V-PDB).

For N:

δ 15N ‰ = [(Rsample /Rstandard) – 1] x 1 000

The universal reference standard for N is atmospheric N2 (N-air).

Check that the repeatability requirements are met for each sample (10). The final result of a given sample is the mean value of the three repetitions.

In the calculations, the raw values of δ are used with the three decimal places provided by the instrument, while the final result is expressed to one decimal place.

10. Repeatability

The repeatability of measurements, expressed as the absolute difference between two individual results on the same test material by an operator using the same equipment within the shortest possible space of time, should not be greater than the value of r, as shown below:

r = 0.3 ‰ for δ 13C

r = 0.5 ‰ for δ 15N

Note: Laboratories should take the repeatability values given above into account when assessing the precision obtained, for each sample, after the three repetitions performed. The comparison may be made using the Fisher F test or another equivalent statistical test.

11. Bibliography

T. B. Coplen (1994). Reporting of stable hydrogen, carbon and oxygen isotopic abundances. Pure Applied Chemistry 66: 272-276.

Francioso O., Montecchio D., Gioacchini P. and Ciavatta C. (2005). Thermal analysis (TG-DTA) and isotopic characterisation (13C-15N) of humic acids from different origins. Applied Geochemistry 20: 537-544.

#### 10 Determination of thermal behaviour of a compound using thermogravimetric analysis (TG) and differential thermal analysis (DTA)

1. Subject

This document describes the method for assessing the thermal behaviour of organic-based fertilisers using thermogravimetric analysis (TG) and differential thermal analysis (DTA). The method is used to characterise the fertiliser and/or matrix or matrices, and to improve traceability.

2. Field of Application

This method applies to organic-based fertilisers pursuant to Legislative Decree 75 of 29 April 2010 (Annexes 1, 2, 3, 4, 5 and 6).

3. Principle

During simultaneous TG-DTA Analysis, the sample is heated in a controlled environment (dynamic air) to 800 °C. All variations in weight and related variations of the thermal properties of the material should be recorded. Differential thermal analysis measures the difference in temperature T between a and an inert reference, as temperature varies over time. This generates a curve showing the temperature difference on the y-axis and the temperature on the x-axis. A peak is recorded at the chemical-physical transformation in the sample. DTA is able to provide qualitative information on chemical-physical processes taking place in the sample: temperature at which thermal events occur and related nature of the thermal event (endothermic or exothermic). TG is able to provide quantitative information on the chemical-physical processes taking place in the sample during heating.

4. Equipment

4.1 Alumina crucibles

4.2 Precision scales providing 0.1 mg measurement accuracy

4.3 Spoons

4.4 Tweezers

4.5 Reference material (e.g. calcined kaolin)

4.6 Simultaneous TG-DTA instrument

5. Preparation of the sample

5.1 Sample preparation.

Use the precision scales (4.2) to weigh out an aliquot of air-dried sample finely crushed (< 250 µm) in the alumina crucible (4.1). The quantity of sample to be weighed out varies typically from a few milligrams (2–10 mg) to approximately 30 mg depending on the assumed content of organic C in the sample (the greater the organic substance content, the greater the enthalpy variation of the exothermic reaction between 200 and 600°C).

Do not touch the crucibles with your hands.

  - Preparation of reference material

Weigh out an aliquot of calcined kaolin approximately equal to the aliquot of sample in a crucible and position it in the reference position on the scales of the instrument.

6. Analysis procedure

  - Preparing the analysis

The analysis procedure is managed using software. It is important to enter the precise values of the weight of the sample determined previously on precision scales. Parameters to be entered: heating temperature range (30800 °C), heating speed (10 °C min-1), controlled atmosphere (air 8 L h-1).

7. Expression of results

The weight loss value of the sample during heating calculated by the software is expressed as a percentage variation in weight as a function of time.

The DTA trace is recorded in µV s mg-1.

Tmax = Maximum temperature of the peak.

Example:

| Mixture Organic compounds + inorganic compounds | Reaction Organic compounds + inorganic compounds |
| --- | --- |
| MUD CaSO42H2O + = MIXTURE of MUD+CaSO42H2O Exo. Temperature °C | MUD CaSO42H2O + = NEW compound Temperature °C |

8. Repeatability

The standard deviation of narrow repeatability is ±1°C in the DTA analysis and ±0.01 mg for TG data.

It is worth stressing that the repeatability of the analysis is strictly linked to the uniformity of the sample analysed. Consequently, special attention must be paid to the sample extraction and preparation phase before instrumental analysis.

9. Bibliography

Francioso O., D. Montecchio, P. Gioacchini and C. Ciavatta. 2005. Thermal analysis (TG-DTA) and isotopic characterisation (13C-15N) of humic acids from different origins. Applied Geochemistry 20: 537-544.

11 Determination of the cation exchange capacity (CEC) of zeolite-based fertilisers

- Subject

This method sets out the procedure to be followed to determine the cation exchange capacity (CEC) of fertilisers containing primarily (>50 %) zeolite (zeolitites).

- Field of Application

This method, which is established and widely used in the field of mineralogy, is suitable for determining the real cation exchange capacity (CEC) of mineral fertilisers containing primarily (>50 %) zeolite (zeolitites) to enable the improvement capacity thereof to be evaluated in comparison to soil and growing media.

- Terms and definitions

Zeolite: aluminosilicate hydrate of alkaline elements (mainly Na and K) and alkaline-earth metals (mainly Ca and Mg), structurally belonging to tectosilicates.

Zeolitites: rock containing primarily (> 50 %) zeolite resulting from diagenesis of pyroclasts (tuff, ignimbrite) via a process of dissolution of the original volcanic glass and precipitation of the zeolitic phases.

- Method principle

The method is based on the cation exchange process using NH4+, which has a marked selectivity for zeolites and does not occur naturally in zeolite, as the exchange cation. The value of CEC expressed in meq/100 g or cmol/kg is calculated from the quantity of cations (Ca2+, Mg2+, Na+ e K+) released from the zeolite for exchange with the NH4+ of the contact solution.

The method involves the following phases:

- Preparation of a representative sample of the fertiliser;

- Elution of an aliquot of the sample using NH4+ 1N solution;

- Determination of the concentrations (mg/L) of Na, K, Ca and Mg in the eluted liquid;

- Calculation of the CEC on the basis of the total quantity (mg/L) of cations released during elution.

NOTICES – The people responsible for carrying out this testing method must be familiar with normal chemical laboratory practices. This method does not deal with any safety issues related to its use since there are none. The user is responsible for using good practices in terms of safety, health and compliance with Italian legislation.

- Reagents

Use deionised water and reagents of recognised analytical quality during the test.

5.1 NH4Cl of high purity (ACS – RPE)

- Equipment

6.1 Atomic absorption spectrophotometer with flame atomisation (FAAS). With the following experimental conditions: flame air-acetylene. Ca: = 422.7 nm; slot: 0.7 nm; scale concentration range: 0.5–9.0 ppm. Mg: = 285.2 nm; slot: 0.7 nm; scale concentration range: 0.3–3.0 ppm. K: = 769.9 nm; slot: 0.7 nm; scale concentration range: 0.5–10.0 ppm. Na in emission: = 589.0 nm; slot: 0.2 nm; scale concentration range: 0.5–10.0 ppm.

For all of the elements, the scales were obtained by diluting the standard solutions of guaranteed strength (1 000 mg/L) by atomic absorption adding 1 % HNO3 and, for Ca and Mg, 10 % lanthanum hexaboride solution (316 g in 1l of deionised water) and for Na and K 10 % CsCl solution (13 g in 1 L of deionised water). The control is provided using the used GH and GA international standards [1]

6.2 Gooch with a septum with a porosity of 2

6.3 Micro-analytical scales with precision to the fifth decimal place of a gram

- Sample preparation

Break up the sample manually or mechanically to obtain a representative sample having a granulometry between 0.20 and 0.125 mm.

- Procedure

Weigh out 1 g of sample having a granulometry between 0.20 and 0.125 mm with an accuracy of 0.1 mg, place in a Gooch (6.2), and elute with a solution of 1N of Tassodirespirazione=Consumo Totale di Ossigeno (Δt)Δt obtained from deionised water and NH4Cl (5.1) (53, 5 g in 1 L of deionised water) with a flow rate of 1 L/h. The concentrations (mg/L) of Na, K, Ca and Mg in each litre of eluted liquid are determined using atomic absorption spectrophotometry (AAS) (6.1). Continue elution until the concentration of individual cations (Ca2+, Mg2+, Na+ and K+) in the final litre fraction is not less than 0.5 mg/L. The cation exchange capacity (CEC) expressed in meq/100 g or cmol(+)/kg is given by the sum of the mg of individual cations (Ca, Mg, K, Na) adjusted for the equivalent weight thereof released and measured in subsequent eluted litres (1st L, 2nd L, etc.):

- Quantification and detection limit

Lower limit 15 cmol(+)/kg; quantification limit 30 cmol(+)/kg.

- Repeatability

The difference between the results of two determinations carried out in parallel on the same sample must not exceed the value r given in the table.

Table. Mean values, repeatability limits

| (%) | r (%) |
| --- | --- |
| 162.3 | 8.6 |
| 183.5 | 10.2 |
| 204.3 | 15.2 |

- Bibliography

[1] Geostandards Newsletter. Special Issue of Geostandards Newsletter. Vol. XVIII, July 1994, Vandoeuvre-les-Nancy, France (K. Govindaraju, ed.), 1-1581.

12 Qualitative and quantitative determination of zeolite content in crystalline and amorphous phases using Rietveld method

- Subject

This method sets out the procedure to be followed to determine the qualitative and quantitative content of the crystalline phases and any related amorphous phases (glass) in fertilisers containing primarily (>50 %) zeolite (zeolitites).

- Field of Application

The method makes it possible to determine the actual percentage concentration of the crystalline and amorphous phases of fertilisers produced from rocks in general and specifically, fertilisers containing mainly zeolite (zeolitite).

- Regulatory framework

UNI EN 13925-1, -2, -3

- Terms and definitions

Zeolite: aluminosilicate hydrate of alkaline elements (mainly Na and K) and alkaline-earth metals (mainly Ca and Mg), structurally belonging to tectosilicates.

Zeolitites: rock containing primarily (> 50 %) zeolite resulting from diagenesis of pyroclasts (tuff, ignimbrite) via a process of dissolution of the original volcanic glass and precipitation of the zeolitic phases.

- Method principle

The Rietveld method involves simulating the diffractogram of polycristalline material ("powder") measured using the diffractogram calculated from: i) structural model for each of the cristalline phases present in the mixture (position and intensity of the diffraction peaks); ii) profile functions to describe the contribution of the microstructures of the sample and of the instrument as the peaks grow; iii) analytical functions to describe the intensity of the background. The best agreement between the calculated and measured diffractograms is obtained using least-squares refinement techniques. In particular, in modal quantitative analysis of the phases using the Rietveld method (QPA-Rietveld), the fractions by weight of the different phases present in a polyphasic mixture are determined from the scale factor refined for each of them, with the assumption that all of the phases are crystalline and describable using an appropriate structural model. This approach makes it possible to make highly reliable estimates of the modal concentration of the phases in the rock without adding an internal standard. If the rock contains a fraction amorphous to x-rays (or not describable by an appropriate model), the Rietveld method can be used successfully by adding a known amount of internal standard to the mixture. This makes it possible to determine the content of the amorphous phase itself.

The method involves the following phases:

- Manual or mechanical breaking up of the sample of zeolitite-based fertiliser to obtain an impalpable powder (<50 µg) and addition of the internal standard;

- Generation of a powder diffractogram;

- Qualitative interpretation of the powder diffractogram;

- Modal quantitative analysis of the crystalline phases by simulating the powder diffractogram using a specific calculation program.

The general principles of x-ray diffractometry of polycrystalline material (powders), the procedures and the instruments are covered by the standard UNI EN 13925-1, -2, -3.

NOTICES – The people responsible for carrying out this testing method must be familiar with normal chemical laboratory practices, structural crystallography and x-ray diffraction techniques. This method does not deal with any safety issues related to its use since there are none. The user is responsible for using good practices in terms of safety, health and compliance with Italian legislation.

- Reagents

Use deionised water and reagents of recognised analytical quality during the test.

6.1 Corundum (-Al2O3; SRM 640 NIST) to be used as an internal standard.

- Equipment

7.1 Plexiglass or aluminium specimen rack.

7.2 X-ray powder diffractometer (XRPD) with a solid-state detector.

7.3 Crystalline phase sheets from the Powder Diffraction File (PDF-2) database.

7.4 TOPAS-Academic [1] or GSAS [2] calculation program with results independent of the program used.

- Sample preparation

Manually or mechanically crush the sample to obtain an impalpable powder (<50 µm)

- Procedure

An aliquot of the sample supplemented with a quantity of corundum equal to 20 % by weight is inserted — preferably using side-loading to prevent preferential orientation of the crystallites — in a plexiglass or aluminium specimen rack (7.1) that is subsequently placed in the appropriate specimen rack slot of an automatic x-ray powder diffractometer fitted with a solid-state, proportional-gas, spark or other detector. The results are not dependent on the type of detector used [3].

The operating conditions for generating the powder diffractogram may vary depending on the specific instruments used. The typical conditions are as follows: radiation CuK1.2; slot 1.0/1.0/0.2 mm; angular range 2 from 5 to 80-130°; step size 0.02°; time/step 5-12 s.

10. Calculation and expression of results

Qualitative interpretation of the powder diffractogram is effected by comparison with the sheets for the crystalline phases from the database PDF-2 (ICDD). Modal analysis of the phases using the Rietveld method (QPA-Rietveld) can be carried out using one of the many calculation programs available for Rietveld refinement of polyphasic mixtures. These are available for commercial use (X’Pert High Score Plus [4]) and academic use (TOPAS-Academic [1] or GSAS package [2]). The structural models of the crystalline phases identified in the qualitative analysis of the diffractogram can be obtained from the ICSD database or the reference literature. During the fitting procedure of the profile, in addition to the terms of the background, the cell parameters, scale factors, coefficients of the profile functions (dimensions of the crystals) and, if necessary, some corrective factors (preferential orientation, micro-absorption, extinction, etc.) are refined.

The results of quantitative Rietveld analysis are expressed as a weight percentage of the crystalline phases and of the amorphous phase with the related standard deviations recalculated on the basis of the original content of the rock (without the addition of an internal standard).

11. Detection limit

The detection limit of the crystalline phases present in the zeolitite fertilisers varies depending on the measurement conditions (sample quantity, incident beam intensity, slots, acquisition times, etc.) and on the actual characteristics of the mixture. An estimate can be obtained using the following relationship:

LLD = 3wIbg0.5 / Ipk

where:

LLD	= Detection limit for the phase  defined as the lowest concentration determinable as statistically different from the blank (3)

w 	= Known fraction in weight of  in an artificial mixture

Ibk and Ip	k	= Intensity in c/s of the background and of the characteristic peak of the phase 

12. Repeatability

The difference between the results of two determinations carried out in parallel on the same sample must not exceed the value r given in the table.

Table. Mean values, repeatability limits

| (%) | r (%) |
| --- | --- |
| 57.4 | 2.5 |
| 63.8 | 2.5 |
| 70.7 | 3.4 |

13. Bibliography

[1] Coelho Software (2007).- Topas-Academic V. 4.1. Brisbane, Australia.

[2] A.C. Larson and R.B. Von Dreele (2004).- General Structure Analysis System (GSAS). Los Alamos National Laboratory Report LAUR 86-748.

[3] L. Leòn-Reina, A. G. De la Torre, J. M. Porras-Vazquez, M. Cruz, L. M. Ordonez, X. Alcobe, F. Gispert-Guirado, A. Larranaga-Varga, M. Paul, T. Fuellmann, R. Schmidt and M. A. G. Aranda (2009).- Round robin on Rietveld quantitative phase analysis of Portland cements. J. Appl. Cryst. 42, 906–916.

[4] PANAlytical B.V. (2001).- X’Pert HighScore Plus V. 3.0d. Almelo, The Netherlands.

13 Determination of chemical composition of zeolitites using X-ray fluorescence spectroscopy

1. Subject

This method sets out the procedure to be followed for the chemical characterisation of fertilisers containing primarily (>50 %) zeolite (zeolitites). X-ray fluorescence spectroscopy makes it possible to perform qualitative and quantitative chemical analyses of the major elements (Na, Mg, Al, Si, P, K, Ca, Ti, Mn and Fe) and trace elements (S, Cl, Cu, Zn, As, Pb, V, Cr, Co, Ni, Ba, Ce, Nb, Zr, Sr, Y and La) within atomic number above 5.

2. Scope and area of application

The method applies to solid samples in quantities of 2 to 3 g of impalpable powder (<50 µm). The composition of the matrix must be similar to the standards used for calibrating the instrument.

3. Terms and definitions

Zeolite: aluminosilicate hydrate of alkaline elements (mainly Na and K) and alkaline-earth metals (mainly Ca and Mg), structurally belonging to tectosilicates.

Zeolitites: rock containing primarily (> 50 %) zeolite resulting from diagenesis of pyroclasts (tuff, ignimbrite) via a process of dissolution of the original volcanic glass and precipitation of the zeolitic phases.

4. Method principle

The method is based on the interaction of an x-ray beam on a sample and subsequent production of x-rays at wavelengths, characteristic of the elements that make up the sample, at intensities proportional to the concentrations of the individual elements.

An x-ray tube produces radiation in the continuous spectrum that is characteristic of the material that makes up the anode (for example W, Sc, Mo, Cr, Au). The atoms in the sample hit by the x-rays are excited and, in changing from their natural state, in turn emit x-rays, characteristic of the elements that make up the sample. A spectrometer is able to select the x-rays relating to a single line of the spectrum and a counter counts the quantity of radiation related to a single element. Using suitable calibration scales measured against standards with different concentrations and with matrices as similar as possible to the sample, it is possible to convert the intensity measurements of individual elements into concentrations, expressed as percentages for the major elements and ppm for trace elements. The calibration standards are given in the current literature cited below [1].

NOTICES – The people responsible for carrying out this testing method must be familiar with normal chemical laboratory practices. This method does not deal with any safety issues related to its use since there are none. The user is responsible for using good practices in terms of safety, health and compliance with Italian legislation.

5. Reactions and interferences

Issues may arise when measuring some elements as a result of interference of the lines characteristic of the incident x-ray (relative to the element that makes up the anode) with the lines of the element to be measured and potentially interference of lines, characteristic of the different elements present in the sample. To obviate such issues, the material used to make the anode in the x-ray tube and the line characteristic of the element to be measured should be carefully selected and, in the case of interference that cannot be eliminated, a correction factor should be applied.

6. Reagents and materials

Use deionised water and reagents of recognised analytical quality during the test.

6.1 Pure boric acid for analysis (minimum strength 99.8 %).

6.2 Certified international calibration standards: GA, GH, JG-1, JG-2, JG-3, as cited below [1].

6.3 Mowiol organic glue (strength unspecified).

7. Equipment

7.1 Pastille maker, diameter 5 cm.

7.2 Wavelength dispersive spectrometer with analysis crystals, spark detectors or gas flow counters, with an accuracy between 0.1 and 0.3 %.

7.3 Technical scales with precision to the second decimal place.

7.4 Hydraulic press with PMAX of 10 tonnes.

7.5 Desiccator.

8. Sample preparation

Manually or mechanically break up the sample to obtain an impalpable powder (<50 µm) Dry the material at 110 °C for 12 hours. Leave the material to cool to ambient temperature in a desiccator kept in a vacuum to prevent rehydration.

9. Procedure

9.1 Test aliquot preparation

Weigh out approximately 3.00 g of sample prepared according to paragraph 8 with a precision of 0.1 mg. Mix the sample with four drops of organic glue (6.3), place in the pastille maker (7.1), cover with five teaspoons of boric acid (6.1) and press at 7 tonnes for 10 minutes to obtain a pastille 5 cm in diameter and 5 or 6 mm thick. Keep the pastilles in the desiccator until they are to be measured using the spectrometer.

9.2 Preparing a blank

Prepare a pastille comprising only boric acid (6.1), pressing the material at 7 tonnes for 10 minutes.

9.3 Calibration of measurement system

Use the procedure described for the samples to prepare the series of international certified standards having matrices similar to the sample and with compositions distributed in a range approximately the assumed value of the sample.

9.4 Measurement

Take measurements on the reference standards under the same analytical conditions used for measuring the sample.

10. Calculation and expression of results

The concentration of the elements is calculated using the following formula [2, 3]:

Ci = Ii j=1NKi,j Cj

Where:

Ci : Constituent concentrations of the rock;

N: Number of the elements;

Ii: Intensity of the characteristic line measured;

Ki,j: Coefficients taking into account the matrix effects;

Cj: Concentration of element j.

The results expressed as percentages of the oxides of the elements for the concentrations of the major elements (up to the second decimal place) and in ppm for the concentrations of the trace elements (no decimal places) are standardised at 100 % with the loss of H2O determined on the aliquot of the representative sample by calcination at 1 000°C.

11. Detection limit

The detection limits vary as a function of the atomic number of the element being analysed, the matrix and the quantity of material used to take the measurement. The values of the detection limits relating to the major elements are given in the table below, and the limits for the minor elements are in terms of parts per million (ppm).

Table - Detection limits (% by weight) of major elements expressed as oxides.

There are no limits to the maximum concentration of the elements measured.

12. Repeatability

The difference between the results of two determinations carried out in parallel on the same sample must not exceed the value r given in the table.

Table. Mean values, repeatability limits for three different samples of zeolitite

| sample | data | SiO2 | Al2O3 | P2O5 | TiO2 | Fe2O3 | MnO | MgO | CaO | Na2O | K2O |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Z1 | n | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
|  | (%) | 51.91 | 16.51 | 0.17 | 0.52 | 3.43 | 0.12 | 1.77 | 5.46 | 0.64 | 5.47 |
|  | r % | 1.23 | 1.00 | 0.05 | 0.10 | 0.24 | 0.04 | 0.09 | 0.37 | 0.09 | 0.83 |
| Z2 | n | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
|  | (%) | 48.90 | 16.89 | 0.12 | 0.57 | 4.18 | 0.13 | 1.47 | 4.80 | 0.85 | 6.47 |
|  | r % | 1.27 | 0.94 | 0.04 | 0.06 | 0.10 | 0.03 | 0.10 | 0.21 | 0.11 | 0.25 |
| Z3 | n | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
|  | (%) | 52.07 | 16.42 | 0.05 | 0.45 | 3.19 | 0.13 | 0.95 | 4.55 | 0.89 | 6.23 |
|  | r % | 1.67 | 0.67 | 0.04 | 0.11 | 0.32 | 0.05 | 0.14 | 0.25 | 0.14 | 0.35 |

13. Quality control

Take the international standard measurements (GA, GH, JG-1, JG-2, JG-3 as provided for in the bibliography [1]) under the same experimental conditions as for the sample being analysed.

14. Bibliography

[1] Geostandards Newsletter. Special Issue of Geostandards Newsletter. Vol. XVIII, July 1994, Vandoeuvre-les-Nancy, France ((K. Govindaraju, ed.), 1-1581.

[2] Franzini M., Leoni L. e Saitta M.: Revisione di una metodologia analitica per fluorescenza – X, basata sulla correzione completa degli effetti di matrice (Provision of an analytical method using X fluorescence based on the complete correction of matrix effects) Rend. Soc. It. Min. Petr., 31(2), 365-378, 1975.

[3] Leoni L. e Saitta M.: X-ray fluorescence analysis of 29 trace elements in rock and mineral standards. Rend. Soc. It. Min. Petr., 32(2), 497-519, 1976.

14 Method for counting Escherichia coli

NOTICES

The people responsible for carrying out this testing method must be familiar with normal laboratory practices. This method does not deal with any safety issues related to its use, if there were any. The user is responsible for using good practices in terms of safety, health and compliance with Italian legislation.

Introduction

Escherichia coli (E.coli) are gram-negative bacteria present in the intestinal tract of human beings and animals. There is therefore a risk, albeit limited, that contamination with faecal matter containing the bacterium could cause epidemics through the transmission of these organisms to the food chain when E. coli pathogens such as E. coli O157 are present. For this reason, it is necessary to monitor and control the levels of E.coli in composted soil improvers in consideration of the application dosage thereof on farmland. Determination of E.coli density is a routine microbiological test and a sensitive tool for evaluating the removal of the pathogen from soil improvers to be used on farmland and to demonstrate compliance of the product with regulatory standards. The significance of E.coli is described in greater detail in the literature.

Users of this method are required to check the results under laboratory conditions using the testing instruments described in detail below.

- Subject

This document establishes a method for counting Escherichia coli in organic fertilisers, soil improvers and organic matrices used for the production thereof.

- Field of Application

The method, which is an example technique for detecting the number of microorganisms in a given medium, is used to test organic fertilisers, soil improvers and the materials used (in particular mud) for the production thereof provided for in Legislative Decree 75 of 29 April 2010, including untreated mud (such as from lagooning, thickened and anaerobically digested) and treated mud (for example pasteurised, thermophilically digested and stabilised with silt). Depending on the nature of the matrix to be analysed, different techniques may be required to prepare the sample, some of which are described below.

- Regulatory framework

References to some English national standards are given in the bibliography at the end of the text.

- Terms and definitions

4.1 The microbiological substrates defined are formulations of specific chemical substrates able to detect diagnostic enzyme activity associated with a particular group of microorganisms.

4.2 In the context of this method, the organisms are considered to be E.coli if they produce the enzyme β-glucuronidases at 37.0 ± 1.0°C. β-glucuronidases activity is demonstrated by the production of a blue-white fluorescence (under high-wavelength ultraviolet light) as a result of enzymatic breakdown of the 4-Methylumbelliferyl-β-D-glucuronide (MUG).

4.3 Historically, in the water and similar material test, E. coli was considered to be part of the family of Enterobacteriaceae that ferment lactose and mannitol at 44°C with the production of acid within 24 hours, and that produce indole from tryptophan. Most strains of E. coli produce β-glucuronidases.

- Method principle

5.1 A sample of the compost is initially homogenised, as specified in detail in Point 10.1 below, and diluted serially with distilled or deionised water. Following incubation in a given liquid medium containing specific substrates for detecting β-galactosidase and β-glucuronidase enzyme activity, the organisms are counted.

5.2 The dehydrated medium is dissolved in a set volume of sterile deionised water, to which the sample of diluted compost is added. The suspension is then transferred to a container with a reaction plate fitted with multiple wells of fixed volume. This container acts as a most probable number (MPN) system with multiple tubes, where the number of wells showing microbial growth in the medium depends on the number and distribution of the organisms in the diluted sample. The container is closed and incubated under pre-set time and temperature conditions. If some but not all of the wells in the container show growth in the growing medium, the most probable number of organisms in the diluted sample can be estimated from the probability tables, an example of which is given in Table 1 attached.

- Reactions and interferences

The sterile recovery diluent mentioned in the paragraph below must be kept at an ambient temperature and away from light, and used within one month.

Buffer solutions should not be used during the test as they are likely to produce adverse reactions.

During the test, prevent direct exposure of the bottles to sunlight, as this could cause hydrolysis of the specific substrates, and therefore false positives.

The use of non-glass bottles is recommended to prevent the formation of potentially inflammable gas pressure.

- Reagents and materials

Commercial formulations are available for these growing media. The performance of all media and reagents should be checked before use.

Unless otherwise specified, the chemical components should be added as anhydrous salt.

7.1 Medium Colilert® 18. This medium is an example of a formulation commercially available in sachets and suitable for analysing individual samples. The medium is a chemically defined formulation with minimum nutrients and specific substrates for detecting the enzymes β-galactosidase and β-glucuronidase.

7.2 Recovery diluent

- Bacteriological peptone: 1.0 g

- Sodium chloride (NaCl): 8.5 g

- Distilled or demineralised water of equivalent quality: 1 L

Dissolve the ingredients in water and adjust the pH to 7.0 ± 0.2. Split the solution into bottles with screw tops and sterilise in an autoclave at 121°C for 15 minutes. After autoclaving, check that the pH is still 7.0 ± 0.2. The sterile diluent must be kept at an ambient temperature and away from light, and used within one month.

- Equipment

Standard microbiological laboratory equipment that satisfies the criteria described may be used (3). An example method for this type of most probable number technique is described below, based on commercially available systems. Some of the instruments listed are specific to this system. They include:

8.1 Incubator able to maintain a temperature of 37.0 ± 1.0°C.

8.2 Sterile plastic boats (6 cm x 6 cm).

8.3 Sterile 100 mL plastic bottles containing an anti-foaming agent of the type provided by test system manufacturers, or equivalent.

8.4 MPN reaction sachets as provided by the manufacturer (for example, a 51-well system that provides a counting range of up to 200 organisms, or a 97-well system that provides a counting range of up to 2 419 organisms) and related hot welding devices.

8.5 High-wavelength ultraviolet lamp (365–366 nm) and a viewer.

8.6 Colour and fluorescence comparator, as provided by the manufacturer.

- Procedure

9.1 Test aliquot preparation

Prepare an initial 1:10 dilution of the original sample, weighing 10 g of compost aseptically in a boat made of sterile material. Add 90 mL of recovery diluent (or a different quantity, in all cases observing the 1:10 ratio between sample and diluent) and homogenise the diluted sample. The serial dilutions, typically 1:100, of the Di looted and homogenised sample are then prepared in deionised or distilled sterile water. The dilutions are prepared such that the wells containing the growing medium defined show microorganism growth in some cases but not in others.

9.2 Preparing a blank (if necessary)

Prepare a blank to be treated in parallel with the test using the same procedure and the same reagents. The blank will contain a sample of fertiliser previously sterilised in an autoclave at 121°C for 20 minutes.

9.3 Test

Prepare an appropriate dilution of the sample, taking 1 mL of the sample and placing it in a sterile bottle containing the anti-foaming agent and 99 mL of sterile distilled or deionised water. Buffer solutions should not be used as they are likely to produce adverse reactions. Following the manufacturer's instructions, aseptically transfer the content of a sachet of medium (reaction) into the bottle. Once it is closed, shake the bottle to ensure the medium is dissolved. The bottle is then left to stand for a few minutes to enable the air bubbles to disperse. The content of the bottle is then transferred to the MPN container, which is sealed. Prevent direct exposure to sunlight, as this could cause hydrolysis of the specific substrates, and therefore false positives. The time between inoculation of the reaction sachet and the beginning of incubation must be short as possible and in any case not greater than two hours. The sealed MPN sachets are incubated at 37.0 ± 1.0°C for at least 18 hours and no more than 22 hours.

9.4 Reading results

After incubation, the reaction sashay is examined and the number of wells displaying blue-white fluorescence under the ultraviolet light (365 nm) is recorded. The level of fluorescence of the samples is compared with intensity scales provided by the manufacturer to ensure correct interpretation of the data. In some cases, it may be relevant to record the number of wells that display yellow coloration as a result of enzymatic hydrolysis of the ortho-nitrophenyl-β-D-galactopyranoside (ONPG), which indicates the presence of β-galactosidase.

9.5 Confirmation test

The method provided is highly specific to E.coli, as shown by the production of blue-white fluorescence, which results from the enzymatic breakdown of 4-Methylumbelliferyl-β-D-glucuronide (MUG). Consequently, confirmation tests are not normally required.

- Calculation and expression of results

10.1 The number of wells showing a positive reaction (i.e. blue-white fluorescence, with or without yellow coloration in the growing medium) is recorded. The MPN of E.coli is determined with reference to the appropriate probability tables, as shown in Table 1. For example, using the 51-well container, if there are 15 wells that show blue-white fluorescence, the table states that the MPN of E.coli is 18 per 100 mL of solution.

The MPN value for E.coli in the compost can be expressed on the basis of fresh (wet) or dry weight. The calculation takes into consideration the volume and the dilutions used and, for the number of E.coli per gram of dry weight, also the percentage of dry weight (7). Use the following formula to determine the MPN value relating to fresh weight, expressed in grams of compost as found:

where

Cw is the number of E.coli in one gram of compost (wet weight)

N is the MPN of E.coli obtained from the probability tables (for 100 mL examined)

a is the volume of sample diluted (typically 1 mL)

b is the initial dilution factor for the fertiliser in the diluent (in this case 10)

d is the dilution factor for the serial dilutions in deionised or distilled water.

For example, if 10 g of original (wet) fertiliser is initially diluted 10 times, and a serial dilution is performed of 5 mL to 10 mL, i.e. twice, and 1 mL of the final dilution is taken for addition to the growing means, and 15 wells are counted with blue-white fluorescence, then

10.2. The MPN of E.coli present in the fertiliser is expressed as a number of E.coli by wet weight.

- Explanation

The estimation method relates to the most probable number (MPN) probability table prepared using probability calculations and provided in the Appendix.

- Recovery

Not applicable.

- Detection limit

The detection limit is given by the following formula:

where:

Cw is the number of E.coli in one gram of compost (wet weight)

a is the volume of sample diluted (typically 1 mL)

b is the initial dilution factor for the fertiliser in the diluent

d is the dilution factor for the serial dilutions in deionised or distilled water

- Quality control

New batches of growing media and reagents should be tested with the appropriate reference target bacterial strain (for example E.coli) and non-target bacterial strains (for example Pseudomonas aeruginosa). See the literature for further details. For high numbers of samples, or routine monitoring, it may be appropriate to examine one or more samples in duplicate, comparing the numbers obtained.

- Test report

The most probable number of viable culturable E.coli cells present in the sample as found (1 g) should be reported.

- Annexes

Table 1 – MPN and confidence intervals at 95 % for 100 mL in relation to a container with a 51-well plate containing a defined reaction medium.

| MPN table - 51-well Quanti-Tray |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Number of positive wells in a 100 mL sample | Most probable number | Confidence limit of lower 95 % | Confidence limit of upper 95 % |

- Bibliography

Standing Committee of Analysts, The Microbiology of Drinking Water (2002) - Part 1 - Water Quality and Public Health, Methods for the Examination of Waters and Associated Materials, in this series, Environment Agency.

Standing Committee of Analysts, The Microbiology of Sewage Sludge (2003) - Part 2 - Practices and procedures for sampling and sample preparation, Methods for the Examination of Waters and Associated Materials, in this series, Environment Agency.

Standing Committee of Analysts, The Microbiology of Drinking Water (2002) - Part 3 - Practices and procedures for laboratories. Methods for the Examination of Waters and Associated Materials, in this series, Environment Agency.

This text is based on Resolution 74 by CEN TC 292 - Wastes - Working Group 5, the agreed text of which was adopted by CEN TC 308 - Characterisation of sludges - for the section on “General Hazards” associated with sludge material and waste.

IDEXX Laboratories, Milton Court, Churchfield Road, Chalfont St Peter, Buckinghamshire, SL9 9EW

Standing Committee of Analysts, The Microbiology of Drinking Water (2002) - Part 4 - Methods for the isolation and enumeration of coliform bacteria and Escherichia coli including E. coli O157:H7. Methods for the Examination of Waters and Associated Materials, in this series, Environment Agency.

Standing Committee of Analysts, The Conditionability, Filterability, Settleabliity and Solids Content of Sludges (1984) A Compendium of Methods and Tests, Methods for the Examination of Waters and Associated Materials, in this series, ISBN 0117517879.

15 Horizontal method for detecting Salmonella spp.

NOTICES

The people responsible for carrying out this testing method must be familiar with normal laboratory practices. The user is responsible for using good practices in terms of safety, health and compliance with Italian legislation. In order to protect the health of laboratory staff, it is essential that the tests carried out to find Salmonella spp. are performed exclusively in properly equipped laboratories under the supervision of a specialist microbiologist, and that special care is taken to dispose of all matter incubated.

1. Introduction

This horizontal method may not be suitable in all details for certain derived products or raw materials used in manufacturing. Some of these options are set out in Appendix D for certain matrices.

If absolutely essential on technical grounds, different methods may be used for derived products or raw materials used for manufacturing. Full details of such methods must be specified when the test report is submitted.

Users of this method are required to check the results under laboratory conditions using the testing instruments described in detail below.

2. Subject

This document establishes a method for detecting Salmonella spp. in organic fertilisers, soil improvers and organic matrices used for the production thereof.

3. Scope and area of application

3.1 This standard sets out a horizontal method for detecting culturable Salmonella spp. cells, including Salmonella typhi and Salmonella paratyphi. The method does not recover viable but nonculturable cells and cannot recover all Salmonella typhi and Salmonella paratyphi.

3.2 This method, in consideration of the limitations set out in the introduction, which is an example technique for detecting the number of microorganisms in a given medium, is used to test organic fertilisers, soil improvers and the materials used for the production thereof provided for in Legislative Decree 75 of 29 April 2010, including a untreated mud (such as from lagooning, thickened and anaerobically digested) and treated mud (for example pasteurised, thermophilically digested and stabilised with silt). Depending on the nature of the matrix to be analysed, different techniques may be required to prepare the sample, some of which are described below.

4. Regulatory framework

The documents referenced below are essential to application of this document. Dated references refer exclusively to the edition cited. Undated references refer to the latest edition of the document referred to (including updates).

ISO 6887-1 Microbiology of food and feeding stuffs – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part 1: General rules for the preparation of the initial suspension and decimal dilutions.

ISO 7218:1996 Microbiology of food and animal feeding stuffs – General rules for microbiological examinations.

ISO 8261 Milk and milk products – General guidance for the preparation of test samples, initial suspensions and decimal dilutions for microbiological examinations.

ISO/TS 11133-1 Microbiology of food and animal feeding stuffs – Guidelines on preparation and production of culture media – Part 1: General guidelines on quality assurance for the preparation of culture media in the laboratory.

ISO/TS 11133-2:2003 Microbiology of food and feeding stuffs - Guidelines on preparation and production of culture media – Part 2: Practical guidelines on performance testing of culture media.

ISO 6579:2002/Amd 1:2007 Microbiology of food and feeding stuffs – Horizontal method for the detection of Salmonella spp.- Amendment 1: Annex D: Detection of Salmonella in animal faeces and environmental samples from the primary production stage.

5. Terms and definitions

The following terms and definitions shall apply to this standard:

5.1 Salmonella spp.: Bacteria that formed typical or less typical colonies on selective solid media and that have the biochemical and serological characteristics described when the tests are carried out in accordance with this standard.

5.2 Detecting Salmonella spp.: Determining the presence or absence of Salmonella spp. (Point 5.1), in a particular mass or volume of product, when the tests are carried out in accordance with this standard.

6. Method principle

The method is based on the enrichment of a subpopulation compared to a poly-microbial population present in the sample.

6.1 General points

Detecting Salmonella spp. involves four successive stages (see also Appendix A). Salmonella spp. may also be present in moderate densities and is often found with considerably larger quantities of other microorganisms belonging to the Enterobacteriaceae or other families. Furthermore, pre-enrichment is often required to enable the detection of a low number of Salmonella spp. or damaged Salmonella spp cells.

6.2 Pre-enrichment in non-selective liquid media

Inoculate the test aliquot in peptone water at ambient temperature, then incubate at 37°C ±1°C for 18 hours ±2 hours.

For some matrices it may be necessary to use different pre-enrichment procedures (see point 9.1.2).

For large quantities, the buffered peptone water must be heated to 37°C ±1°C before inoculating the test aliquot.

6.3 Enrichment in selective liquid media

Inoculate the culture obtained as described in point 6.2 in Rappaport-Vassiliadis medium with soya (RVS broth) and Muller-Kauffmann Tetrathionate-Novobiocin Broth (MKTTn broth).

The RVS broth is incubated at 41.5°C ± 1°C for 24 hours ± 3 hours and the MKTTn broth is incubated at 37°C ± 1°C for 24 hours ± 3 hours.

6.4 Isolation and identification

Inoculate the cultures obtained as described in point 6.3 in two selective solid media:

- Xylose lysine deoxycholate agar (XLD agar);

- Any other solid medium complementing XLD agar, and in particular suitable for isolating strains of Salmonella spp., Salmonella typhi and Salmonella paratyphi (lactose-positive). The laboratory is free to choose the medium it uses. By way of example, Brilliant Green Agar (BGA) or Bismuth sulfite agar may be used as secondary isolation media.

The XLD agar is incubated at 37°C ± 1°C and examined after 24 hours ± 3 hours. The second selective agar is incubated according to the manufacturer's recommendations.

6.5 Confirmation

Subcultures of presumed Salmonella colonies, isolated as described in point 6.4, and confirmation using appropriate biochemical and serological tests.

7. Culture media, reagents and serums

7.1 General points

See ISO 7218 for current laboratory practices.

7.2 Culture media and reagents

On account of the large number of culture media and reagents, the composition and preparation thereof is set out in Appendix B for the sake of clarity.

7.2.1 Non-selective enrichment media: Buffered peptone water

See point B.1

7.2.2 First selective enrichment media: Rappaport-Vassiliadis Soya (RVS) medium

See point B.2

7.2.3 Second selective enrichment media: Muller-Kauffmann Tetrathionate-Novobiocin Broth (MKTTn broth)

See point B.3

7.2.4 Solid selective isolation media

7.2.4.1 First medium: Xylose lysine deoxycholate agar (XLD agar)

See point B.4

7.2.4.2 Second medium

The choice of a second suitable medium is left to the discretion of the testing laboratory. The manufacturer's instructions regarding the preparation and use thereof must be followed carefully.

7.2.5 Nutrient agar

See point B.5

7.2.6 Agar with three sugars and iron added (TSI, Triple Sugars Iron)

See point B.6

7.2.7 Urea agar (Christensen agar)

See point B.7

7.2.8 L-Lysine decarboxylation medium

See point B.8

7.2.9 Reagent for detecting β-galactosidase (or discs of prepared paper used in accordance with the manufacturer's instructions)

See point B.9

7.2.10 Reagents for the Voges-Proskauer (VP) reaction

See point B.10

7.2.11 Reagents for the indole reaction

See point B.11

7.2.12 Semi-solid nutrient agar

See point B.12

7.2.13 Physiological saline solution

See point B.13

7.3 Serums

There are different types of commercially available agglutinating serums containing antibodies to one or more antigens, for example anti-serums containing one or more “O” groups (monovalent or polyvalent anti-O serums), anti-Vi serums and those containing antibodies for one or more H factors (monovalent or polyvalent anti-H serums).

Check that the anti-serums used are suitable for detecting all Salmonella spp serotypes. This can be done more easily using the anti-serums prepared by a recognised supplier (for example an appropriate entity governed by public law).

8. Equipment and glassware

Disposable equipment that meets the related specifications is an acceptable alternative to reusable glassware. Normal equipment found in a microbiology laboratory (see ISO 7218) is sufficient, including in particular:

8.1 Equipment for dry sterilising (oven) or wet sterilising (autoclave)

See ISO 7218.

8.2 Convection-ventilated dryer or oven able to operate at temperatures between 37 °C and 55 °C.

8.3 Incubator able to operate at 37 °C ±1 °C.

8.4 Water bath or incubator able to operate at 41.5 °C ±1 °C.

8.5 Water bath able to operate between 44 °C and 47 °C.

8.6 Water bath able to operate at 37 °C ±1 °C.

The use of water baths (see points 8.4, 8.5 and 8.6) containing an antibacterial agent is recommended on account of the low infective dose of Salmonella.

8.7 Sterile bacteriology loops, with a diameter of around 3 mm or 10 µL and sterile pipettes.

8.8 pH measurer with a calibration accuracy of ±0.1 pH units from 20 to 25 °C.

8.9 Test tubes or flasks of appropriate capacity.

8.10 Graduated or automatic pipettes with a nominal capacity of 10 mL and 1 mL, graduated respectively at intervals of 0.5 and 0.1 mL.

8.11 Small Petri dishes (diameter from 90 to 100 mm) and/or large Petri dishes (diameter 140 mm).

8.12 Equipment for homogenisation, bacterial extraction, and preparation of solid and semi-solid samples (e.g. "Stomacher"®).

9. Preparation of test sample

Prepare the test sample in accordance with the specific national or international standard covering the product or the raw material used to prepare the product.

10. Procedure (see diagram in Appendix A)

10.1 Preparation of test aliquots and initial suspension

See ISO 6887-1 and the specific national or international standard covering the product in question or the raw material required to manufacture it, such as the national standard for enumerating Escherichia coli in fertilisers (soil improvers) as detailed below.

Prepare an initial 1:10 dilution of the original sample, weighing out 10.0 g of fertiliser aseptically in an appropriate container. Add 90 mL (or a different quantity, in all cases respecting the 1:10 ratio between sample and diluent) of the diluent and homogenise the sample diluted with the Stomacher equipment for two minutes at low speed. To prepare the initial suspension, the pre-enrichment medium specified in points 7.2.1 and 6.2 (buffered peptone water) should normally be used.

If the specified mass of the test aliquot is not 25.0 g, use the necessary quantity of pre-enrichment medium to obtain a dilution of 1:10.

To reduce testing workload, if more than one 25 g aliquot is to be tested for a specific group of samples, and if it can be demonstrated that the composite (grouped together) test aliquots do not invalidate the results relating to that specific matrix, the test aliquots may be composite. For example if 10 test aliquots of 25 g each are to be examined, combine all 10 units and form a 250 g composite test aliquot, then add 2.25 L of pre-enrichment broth. Alternatively, the test aliquots of pre-enrichment broth of 0.1 mL (in 10 mL of RVS broth) and 1 mL (in 10 mL of MKTTn broth) relating to the 10 separate aliquots (see point 10.3.1) may be compounded for enrichment in 100 mL of selective enrichment medium.

10.1.1 Preparing a blank

A blank to be treated in parallel with the test can be prepared using the same procedure and the same reagents. The blank will contain a sample of fertiliser previously sterilised in an autoclave at 121°C for 20 minutes.

10.2 Non-selective pre-enrichment.

Incubate the initial suspension (point 10.1) at 37 °C ± 1 °C for 18 hours ± 2 hours

10.3 Selective enrichment

10.3.1 Transfer 0.1 mL of the culture obtained in point 10.2 into a test tube containing 10 mL of the RVS broth (point 7.5.2); transfer 0.1 mL of the culture obtained in point 10.2 into a test tube containing 10 mL of the MKTTn broth (point 7.2.3)

10.3.2 Incubate the inoculated RVS broth (point 10.3.1) at 41.5 °C ± 1 °C for 24 hours ± 3 hours and the inoculated MKTTn broth at 37 °C ± 1 °C for 24 hours ± 3 hours. Make sure that the maximum permitted incubation temperature is not exceeded (42.5 °C).

10.4 Isolation and identification

10.4.1 Using the culture obtained in the RVS broth (point 10.3.2), after incubation of 24 hours ± 3 hours, use a bacteriology loop (point 8.7) to inoculate the surface of a large Petri dish (point 8.11) containing the first selective isolating medium (XLD agar, see point 7.2.4.1), such as to obtain well-isolated colonies.

If no large dishes are available, use two small dishes, one after the other, using the same bacteriology loop.

10.4.2 Using the culture obtained in the MKTTn broth (point 10.3.2) after 24 hours' ± 3 hours incubation, repeat the procedure described in point 10.4.1 with two selective isolating media.

10.4.3 Overturn the dishes (point 10.4.1 and point 10.4.2) such that the base is uppermost, and place them in the incubator (point 8.3) set to 37.0 °C for the first isolating medium (point 7.2.4.1).

Follow the manufacturer's instructions for the second isolating medium (point 7.2.4.2).

10.4.4 After 24 hours' ± 3 hours incubation, examine the dishes (point 10.4.3.) looking for typical Salmonella colonies and atypical colonies that could be Salmonella (see note). Mark the position thereof on the base of the dish.

Typical Salmonella colonies grown on XLD agar have a black centre and a slightly transparent reddish zone as a result of the colour change in the indicator.

Note: The negative variants of Salmonella for the production of H2S (for example Salmonella paratyphi A) grown on XLD agar are pink with a darker pink centre. Lactose-positive Salmonella spp. grown on XLD agar is yellow with or without central darkening.

Incubate the second selective solid medium at the appropriate temperature and examine it for a suitable time to check for colonies that, on account of the characteristics thereof, are assumed to be colonies of Salmonella.

10.5 Confirmation

10.5.1 If shown to be reliable, identification kits currently available commercially may be used for biochemical Salmonella examinations. Identification kits are used for biochemical confirmation of the colonies. Kits must be used in accordance with the manufacturer's instructions.

Note: Identification of Salmonella colonies is largely a question of experience and their appearance may vary not only between species, but also between selective culture media.

10.5.2 Selecting colonies for confirmation

For confirmation, take at least one colony considered typical or suspect from each dish (two small dishes or one large dish) of each selective medium (see point 10.4), and another four if the first is negative.

For epidemiology studies, it is recommended that at least five colonies are identified. If there are fewer than five typical or suspect colonies on a dish, take all of the typical or suspect colonies for confirmation.

Streak the selected colonies on the surface of pre-dried nutrient agar dishes (section 7.2.5), to allow the development of well-isolated colonies. Incubate the inoculated dishes (point 10.4.3) at 37 °C ± 1 °C for 24 hours ± 3 hours.

Use pure cultures for biochemical and serological confirmation.

10.5.3 Biochemical confirmation

10.5.3.1 General points

Use an inoculating needle to inoculate each of the cultures obtained from the selected colonies, as provided for in point 10.5.2, in the culture media provided for in points 10.5.3.2 to 10.5.3.7.

10.5.3.2 TSI agar (point 7.2.6)

Streak the surface of the agar slant and inoculate the bottom by stabbing. Incubate at 37 °C ± 1 °C for 24 hours ± 3 hours.

Interpret the changes in the culture medium as follows:

a) bottom

yellow positive for glucose (glucose used up)

red or unchanged negative for glucose (glucose not used up)

black formation of hydrogen sulfide

bubbles or fractures formation of gas from glucose

b) slant

yellow positive for lactose and/or sucrose (lactose and/or sucrose used up)

red unchanged negative for lactose and sucrose (neither lactose nor sucrose used up)

The typical cultures of Salmonella show alkaline slants (red) with gas formation and acid bottom (yellow) with formation, in around 90 % of cases, of hydrogen sulfide, which blackens the agar.

When a lactose-positive Salmonella culture is isolated (see point 6.4) the TSI slant is yellow. Consequently, preliminary confirmation of Salmonella cultures must not be based exclusively on the results of the test on TSI agar (see point 10.5.3).

10.5.3.3 Urea agar (point 7.2.7)

Streak the agar slant. Incubate at 37 °C ± 1 °C for 24 hours ± 3 hours and examine periodically.

If the reaction is positive, decomposition of the urea releases ammonia, which causes the phenol red to go pink and then dark cherry red. The reaction often becomes visible after 2 to 4 hours.

10.5.3.4 L-Lysine decarboxylation medium (point 7.2.8)

Inoculate just beneath the surface of the liquid medium. Incubate at 37 °C ± 1 °C for 24 hours ± 3 hours.

Cloudiness and a purple coloration after incubation indicate a positive reaction. Yellow coloration indicates a negative reaction.

10.5.3.5 Detecting β-galactosidase (point 7.2.9)

Place the entire content of a bacteriological loop, including the suspect colony, in suspension in a test tube containing 0.25 mL of saline solution (point 7.2.13).

Add a drop of toluene and shake the test tube. Place the test tube in the water bath (point 8.6) at 37.0 °C and wait for approximately five minutes. Add 0.25 mL of the reagent for detecting β-galactosidase and mix.

Place the test tube in the water bath at 37.0 °C and leave for 24 hours ± 3 hours, examining the test tube periodically.

Yellow coloration indicates a positive reaction. The reaction often becomes visible after 20 minutes.

If prepared paper discs (point 7.2.9) are used, follow the manufacturer's instructions.

10.5.3.6 Voges-Proskauer (VP) reaction media (point 7.2.10)

Place the entire content of a bacteriological loop, including the suspect colony, in suspension in a sterile test tube containing 3 mL of VP medium.

Incubate at 37 °C ± 1°C for 24 hours ± 3 hours.

After incubation, add two drops of the solution to the creatine, three drops of the 1-naphthol solution in ethanol and then two drops of the potassium hydroxide solution; shake after adding each reagent.

Formation of a pink to bright red coloration within 15 minutes indicates a positive reaction.

10.5.3.7 Medium supplemented for indole reaction (point 7.2.11)

Inoculate the suspect colony in a test tube containing 5 mL of the triptone and tryptophan medium.

Incubate at 37 °C ± 1 °C for 24 hours ± 3 hours. Following incubation, add 1 mL of Kovacs reagent.

The formation of a red ring indicates a positive reaction. A yellow-brown ring indicates a negative reaction.

10.5.3.8 Interpreting biochemical tests

In general, Salmonella spp. gives the reactions indicated in Table 1

Table 1 - Interpreting biochemical tests

| Testa (from point 8.5.3.2 to point 8.5.3.7) | S. typhi |  | S. paratyphi A |  | S. paratyphi B |  | S. paratyphi C |  | Other strains |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Reaction | % b) | Reaction | %b) | Reaction | % c) | Reaction | % c) | Reaction | % b) |
| Acid in TSI from glucose | + | 100 | + | 100 | + |  | + |  | + | 100 |
| Gas in TSI from glucose | -d) | 0 | + | 100 | + |  | + |  | + | 92 |
| Acid in TSI from lactose | - | 2 | - | 0 | - |  | - |  | - | 1 |
| Acid in TSI from sucrose | - | 0 | - | 10 | - |  | - |  | - | 1 |
| Production of H2S in TSI | + | 97 | - | 0 | + |  | + |  | + | 92 |
| Hydrolysis of urea | - | 0 | - | 0 | - |  | - |  | - | 1 |
| Lysine decarboxylation | - | 98 | - | 0 | + |  | + |  | + | 95 |
| β-galactosidase reaction | - | 0 | - | 0 | - |  | - |  | - | 2e) |
| Voges-Proskauer reaction | - | 0 | - | 0 | - |  | - |  | - | 0 |
| Production of indole | - | 0 | - | 0 | - |  | - |  | - | 1 |
| a) From reference (5) b) These percentages only show that not all serotypes of Salmonella spp. isolated show the reactions marked with + or -. These percentages may vary from country to country, between serotypes causing food poisoning, and within serotypes. c) The percentages are not known from the available literature. d) Salmonella typhi is anoxygenic. e) The subspecies Salmonella arizonae of Salmonella enterica gives positive or negative reactions to lactose, but is always β-galactosidase positive. Additional tests may be carried out to study strains. |  |  |  |  |  |  |  |  |  |  |

10.5.4 Serological confirmation and serotyping

10.5.4.1 General points

The detection of O,Vi and H antigens of Salmonella spp. is tested by on-slide agglutination with the appropriate serums using pure colonies (point 10.5.2) and following removal of self-agglutinating strains. Use anti-serums in accordance with the manufacturer's instructions if they are different from the description given below.

10.5.4.2 Removal of self-agglutinating strains

Carefully place a drop of the saline solution (point 7.2.13) on a clean slide. Use a bacteriological loop (point 8.7) to spread part of the colony to be tested through the droplet, such as to obtain a cloudy and homogenous suspension.

Note: Alternatively, part of the colony to be tested can be spread through a droplet of water, and then mix this solution with a drop of saline solution (point 7.2.13).

Gently shake the slide for a period of time ranging between 30 and 60 seconds. Observe the result against a black background, preferably using a magnifying glass.

If the bacteria have agglutinated in more or less distinct units, the strain is considered to be self-agglutinating and need not be tested subsequently since antigen detection is not possible.

10.5.4.3 Test for the detection of O antigens

Using a pure colony known not to be self-agglutinating, follow the instructions in point 10.5.4.2, using a droplet of the anti-O serum (point 7.3) instead of the saline solution (point 7.2.13).

If agglutination occurs, the reaction is deemed to be positive.

Use the polyvalent and monovalent serums successively.

10.5.4.4 Test for the detection of Vi antigens

Follow the instructions in point 10.5.4.2 using a droplet of the anti-Vi serum (point 7.3) instead of the saline solution.

If agglutination occurs, the reaction is deemed to be positive.

10.5.4.5 Test for the detection of H antigens

Inoculate a pure, non-self-agglutinating colony in the semi-solid nutrient agar (point 7.2.12). Incubate the culture medium at 37°C ± 1°C for 24 hours ± 3 hours.

Use this culture to detect H antigens, following the instructions in point 10.5.4.2, using a droplet of the anti-H serum (point 7.3) instead of the saline solution (point 7.2.13).

If agglutination occurs, the reaction is deemed to be positive.

10.5.5 Interpreting biochemical and serological reactions

Table 2 covers interpretation of the confirmation tests (point 10.5.3 and 10.5.4) on the colonies used (point 10.5.2).

Table 2 - Interpreting confirmation tests

| Biochemical reactions | Self-agglutination | Serological reactions | Interpretation |
| --- | --- | --- | --- |
| Typical | no | Positive O, Vi or H antigens | Strains deemed to belong to the genus Salmonella |
| Typical | no | All reactions are negative | May be Salmonella spp. |
| Typical | yes | Not tested (see 8.5.4.2) |  |
| No typical reaction | no/yes | Positive O, Vi or H antigens |  |
| No typical reaction | no/yes | All reactions are negative | Not deemed to belong to the genus Salmonella |

10.5.6 Final confirmation

The strains that are deemed to belong to the genus Salmonella, or that may be Salmonella (see Table 2), must be sent to a recognised reference centre for Salmonella for definitive typing.

Such shipments must be accompanied by all available information on the strain(s) and whether they are an outbreak or in a matrix of the food chain.

11. Expression of results

Depending on the results of the interpretation, indicate the presence or absence of Salmonella spp. in a test aliquot of x g or x mL of product (see ISO 7218).

See Appendix C for precision data obtained from the inter-laboratory test.

12. Test report

The test report must specify:

- The sampling method used;

- Any changes in the enrichment media or in the incubation conditions;

- All of the operating conditions not specified in this standard or considered optional, in addition to details regarding any incidents that may have influenced the results;

- The results obtained.

The test result must also indicate whether a positive result was only obtained by using an isolation medium (point 7.2.4) not specified in this standard.

13. Recovery

Not applicable

14. Detection limit

Presence of Salmonella spp. in 10 g of sample, if the methods and culture media described in this standard are applied scrupulously.

15. Quality assurance

To check the capacity of the laboratory to identify Salmonella spp. using the methods and culture media described in this standard, place the reference samples in control flasks containing the pre-enrichment medium (see point 7.2.1). Process the control flasks in the same manner as the cultures to be tested.

16. ANNEXES to method 15

16.1 Appendix A – PROCEDURE DIAGRAM

Pre-enrichment

Buffered peptone water at ambient temperature

Incubation (10.2) for 18 hours ± 2 hours at 37°C ± 1°C

Selective enrichment

0.1 ml of culture + 10 ml of RVS broth (10.3.1) and incubation for 24 hours ± 3 hours at 41.5°C ± 1°C

1 ml of culture + 10 ml of MKTTn broth (10.3.1) and incubation for 24 hours ± 3 hours at 37°C ± 1°C

Isolation

XLD Medium and second agar chosen (10.4.1). Incubation for 24 hours ± 3 hours at 37°C ± 1°C

Test a characteristic colony from each dish. If negative, test the other four colonies marked (10.5.2)

Nutrient agar Incubation for 24 hours ± 3 hours at 37°C ± 1°C

Confirmation

Biochemical confirmation (10.5.3)

Serological confirmation (10.5.4)

Expression of results

16.2 Appendix B – COMPOSITION AND PREPARATION OF CULTURE MEDIA AND REAGENTS

B.1 Buffered peptone water

B.1.1 Composition

Casein hydrolysate 10.0 g

Sodium chloride 5.0 g.

Hydrogenated disodium phosphate dodecahydrate (Na2HPO4 x 12 H2O) 9.0 g.

Monopotassium phosphate(KH2PO4) 1.5 g

Distilled water 1 000 mL.

B.1.2 Preparation

Dissolve the components in distilled water, heating if necessary. Adjust the pH if necessary such that it is 7.0 ± 0.2 at 25 °C after sterilisation.

Split the medium into flasks (point 8.9) of appropriate capacity to obtain the necessary test aliquots.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.2 Rappaport-Vassiliadis Soya medium (RVS broth)

B.2.1 Solution A

B.2.1.1 Composition

| Enzymatic digest of soya | 5.0 g |
| --- | --- |
| Sodium chloride | 8.0 g |
| Monopotassium phosphate(KH2PO4) | 1.4 g |
| Dipotassium phosphate (K2HPO4) | 0.2 g |
| Water | 1 000 mL |

B.2.1.2 Preparation

Dissolve the components in water by heating at around 70.0 °C. The solution must be prepared the same day that the complete RVS medium is prepared.

B.2.2 Solution B

B.2.2.1 Composition

| Magnesium chloride hexahydrate (MgCl2 x 6 H2O) | 400.0 g |
| --- | --- |
| Water | 1 000 mL |

B.2.2.2 Preparation

Dissolve the magnesium chloride in water.

Since this salt is highly hygroscopic, it is advisable to dissolve the entire MgCl2 x 6 H2O content taken from a recently opened recipient, according to the formula. For example, 250 g of MgCl2 x 6 H2O is added to 625 of water, forming a solution with a total volume of 788 mL and a mass concentration of around 31.7 g per 100 mL of MgCl2 x 6 H2O.

The solution may be kept in a dark glass bottle with a hermetically sealing lid at ambient temperature for at least two years.

B.2.3 Solution C

B.2.3.1 Composition

| Malachite green oxalate | 0.4 g |
| --- | --- |
| Water | 100 mL |

B.2.3.2 Preparation

Dissolve the malachite green oxalate in water.

The solution may be kept in a dark glass bottle at ambient temperature for at least 8 months.

B.2.4 Complete medium

B.2.4.1 Composition

| Solution A (point B.2.1) | 1 000 mL |
| --- | --- |
| Solution B (point B.2.2) | 100 mL |
| Solution C (point B.2.3) | 10 mL |

B.2.4.2 Preparation

Add 1 000 mL of solution A, 100 mL of solution B and 10 mL of solution C.

Adjust the pH if necessary such that it is 5.2 ± 0.2 after sterilisation.

Before use, distribute into test tubes (point 8.9) in quantities of 10 mL.

Sterilisation for 15 minutes in an autoclave (point 8.1) set to 115°C.

Keep the prepared medium at 3°C ±2°C. Use the medium on the day it is prepared.

Note: The composition of the final medium is: enzymatic digest of soya 4.5 g/L; sodium chloride 7.2 g/L; monopotassium phosphate (KH2PO4) 1.44 g/L; anhydrous magnesium chloride (MgCl2) 13.4 g/L or magnesium chloride hexahydrate (MgCl2 x 6 H2O) 28.6 g/L; malachite green oxalate 0.036 g/L.

B.3 Muller-Kauffmann Tetrathionate-Novobiocin Broth (MKTTn broth) (7)

B.3.1 Base medium

B.3.1.1 Composition

| Meat extract | 4.3 g |
| --- | --- |
| Enzymatic digest of casein | 8.6 g |
| Sodium chloride (NaCl) | 2.6 g |
| Calcium carbonate CaCO3 | 38.7 g |
| Sodium thiosulfate pentahydrate (Na2S2O3 x 5H2O) | 47.8 g |
| Bacteriological ox bile | 4.78 g |
| Brilliant Green | 9.6 mg |
| Water | 1 000 mL |

B.3.1.2 Preparation

Dissolve the dehydrated base components or the dehydrated complete medium in water by boiling for 5 minutes.

Adjust the pH if necessary to 8.0 ± 0.2 at 25 °C.

Carefully mix the medium.

The base medium may be kept for 4 weeks at 3 °C ± 2 °C.

B.3.2 Iodine-iodide solution

B.3.2.1 Composition

| Iodine | 20.0 g |
| --- | --- |
| Potassium iodide (KI) | 25.0 g |
| Water | 100 mL |

B.3.2.2 Preparation

Completely dissolve the potassium iodide in 10 mL of water, then add the iodine and dilute it to 100 mL with sterile water. Do not heat.

Keep the prepared solution in the dark at ambient temperature in a hermetically sealed container.

B.3.3 Novobiocin solution

B.3.3.1 Composition

Novobiocin sodium salt 0.04 g

Water 5 mL

B.3.3.2 Preparation

Dissolve the novobiocin sodium salt in water and sterilise by filtering. Keep for up to 4 weeks at 3 °C ± 2 °C.

B.3.4 Complete medium

B.3.4.1 Composition

| Base medium (point B.3.1) | 1 000 mL |
| --- | --- |
| Iodine-iodide solution (point B.3.2) | 20 mL |
| Novobiocin solution (point B.3.3) | 5 mL |

B.3.4.2 Preparation

In sterile conditions, add 5 mL of novobiocin solution (point B.3.3) to 1 000 mL of base medium (point B.3.1). Mix, then add 20 mL of iodine-iodide solution (point B.3.2). Mix carefully.

Under sterile conditions, split the medium into sterile flasks (point 8.9) of appropriate capacity to obtain the necessary test aliquots.

The complete medium must be used on the day it is prepared.

B.4 Xylose lysine deoxycholate agar (XLD agar) (7)

B.4.1 Base medium

B.4.1.1 Composition

| Powdered yeast extract | 3.0 g |
| --- | --- |
| Sodium chloride | 5.0 g |
| Xylose | 3.5 g |
| Lactose | 7.5 g |
| Sucrose | 7.5 g |
| Lysine monohydrate chloride | 5.0 g |
| Sodium thiosulphate | 6.8 g |
| Ammonium Iron(III) Citrate | 0.8 g |
| Phenol red | 0.08 g |
| Sodium deoxycholate | 2.5 g |
| Agar | From 9 to 18 g 1) |
| Water | 1 000 mL |

1) Depending on the gelling capacity of the agar

B.4.1.2 Preparation

Dissolve the dehydrated base components or the dehydrated complete base medium in the water by heating, stirring frequently until the medium boils. Avoid overheating.

Adjust the pH if necessary such that it is 7.4 ± 0.2 at 25 °C after sterilisation.

Pour the base medium into test tubes or flasks (point 6.9) of appropriate capacity.

Heat, stirring frequently until the medium boils and the agar dissolves. Do not overheat.

B.4.2 Preparing agar dishes

Transfer immediately to the water bath (point 8.5) set from 44 °C to 47 °C, shake and pour into the dishes. Leave to solidify.

Just before use, carefully dry the agar dishes (preferably without covers and with the surface of the agar facing downwards) in the oven (point 8.2) set to a temperature between 37 °C and 55 °C, until the surface of the agar is dry.

Keep the dishes for up to 5 days at 3 °C ± 2 °C.

B.5 Nutrient agar

B.5.1 Composition

| Meat extract | 3.0 g |
| --- | --- |
| Peptone | 5.0 g |
| Agar | from 9 to 18 g 1) |
| Water | 1 000 mL |

1) Depending on the gelling capacity of the agar

B.5.2 Preparation

Dissolve the components or the complete dehydrated medium in water, heating if necessary.

Adjust the pH if necessary such that it is 7.0 ± 0.2 at 25 °C after sterilisation.

Divide the growing medium into test tubes or bottles (point 8.9) of suitable capacity.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.5.3 Preparing nutrient agar dishes

Transfer approximately 15 mL of the melted medium into small sterile Petri dishes (point 8.11) and continue from point B.4.2.

B.6 Triple sugar iron agar (TSI)

B.6.1 Composition

| Meat extract | 3.0 g |
| --- | --- |
| Yeast extract | 3.0 g |
| Peptone | 20.0 g |
| Sodium chloride (NaCl) | 5.0 g |
| Lactose | 10.0 g |
| Sucrose | 10.0 g |
| Glucose | 1.0 g |
| Iron (III) citrate | 0.3 g |
| Sodium thiosulphate | 0.3 g |
| Phenol red | 0.024 g |
| Agar | from 9 to 18 g 1) |
| Water | 1 000 mL |

1) Depending on the gelling capacity of the agar

B.6.2 Preparation

Dissolve the components or the complete dehydrated base medium in water, heating if necessary.

Adjust the pH if necessary such that it is 7.4 ± 0.2 at 25.0 °C after sterilisation.

Divide the medium, placing 10 mL in each test tube or test dish.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

Leave to sediment in an inclined position to produce a base between 2.5 cm and around 5 cm thick.

B.7 Urea agar (Christensen agar)

B.7.1 Base medium

B.7.1.1 Composition

| Peptone | 1.0 g |
| --- | --- |
| Glucose | 1.0 g |
| Sodium chloride (NaCl) | 5.0 g |
| Monopotassium phosphate (KH2PO4) | 2.0 g |
| Phenol red | 0.012 g |
| Agar | from 9 to 18 g 1) |
| Water | 1 000 mL |

1) Depending on the gelling capacity of the agar

B.7.1.2 Preparation

Dissolve the components or the complete dehydrated base medium in water, heating if necessary.

Adjust the pH if necessary such that it is 6.8 ± 0.2 at 25 °C after sterilisation.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.7.2 Urea solution

B.7.2.1 Composition

Urea 400 g

Water, to a final volume of 1 000 mL

B.7.2.2 Preparation

Dissolve the urea in the water. Sterilise by filtering and check sterility. See point 9.3.2 of ISO 7218:1996.

B.7.3 Complete medium

B.7.3.1 Composition

| Base medium (point B.7.1) | 950 mL |
| --- | --- |
| Urea solution (point B.7.2) | 50 mL |

B.7.3.2 Preparation

Under sterile conditions, add the urea solution to the base medium, previously melted and cooled to a temperature between 44 °C and 47 °C.

Distribute the complete medium by placing 10 mL net in sterile test tubes (point 8.9).

Leave to sediment in an inclined position.

B.8 L-Lysine decarboxylation medium

B.8.1 Composition

| Lysine monohydrate chloride | 5.0 g |
| --- | --- |
| Yeast extract | 3.0 g |
| Glucose | 1.0 g |
| Bromocresol purple | 0.015 g |
| Water | 1000 mL |

B.8.2 Preparation

Dissolve the components in water, heating if necessary.

Adjust the pH if necessary such that it is 6.8 ± 0.2 at 25 °C after sterilisation.

Distribute the medium by placing 2 mL to 5 mL in narrow culture tubes (8.9) with screw tops.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.9 Reagent for the production of β-galactosidase

B.9.1 Buffer solution

B.9.1.1 Composition

| Monosodium phosphate (NaH2PO4) | 6.9 g |
| --- | --- |
| Sodium hydroxide, 10 mol/L solution | Approximately 3 mL |
| Water, to a final volume of | 50 mL |

B.9.1.2 Preparation

Dissolve the monosodium phosphate in approximately 45 mL of water in a volumetric flask.

Use the sodium hydroxide solution to adjust the pH to 7.0 ± 0.2 at 25.0 °C.

Add water to make up a final volume of 50 mL.

B.9.2 ONPG solution

B.9.2.1 Composition

| Ortho-nitrophenyl-β-D-galactopyranoside (ONPG) | 0.08 g |
| --- | --- |
| Water | 15 mL |

B.9.2.2 Preparation

Dissolve the ONPG in the water at approximately 50 °C.

Cool the solution.

B.9.3 Complete reagent

B.9.3.1 Composition

| Buffer solution (point B.9.1) | 5 mL |
| --- | --- |
| ONPG solution (point B.9.2) | 15 mL |

B.9.3.2 Preparation

Add the buffer solution to the ONPG solution.

B.10 Reagents for the Voges-Proskauer (VP) reaction

B.10.1 VP medium

B.10.1.1 Composition

| Peptone | 7.0 g |
| --- | --- |
| Glucose | 5.0 g |
| Dipotassium phosphate (K2HPO4) | 5.0 g |
| Water | 1000 mL |

B.10.1.2 Preparation

Dissolve the components in water, heating if necessary.

Adjust the pH if necessary such that it is 6.9 ± 0.2 at 25 °C after sterilisation.

Place 3 mL of the medium in each of the test tubes (point 8.9).

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.10.2 Creatin solution (N-amidinosarcosine)

B.10.2.1 Composition

| Creatine monohydrate | 0.5 g |
| --- | --- |
| Water | 100 mL |

B.10.2.2 Preparation

Dissolve the creatine monohydrate in the water.

B.10.3 1-naphthol solution in ethanol

B.10.3.1 Composition

| 1-naphthol | 8.0 g |
| --- | --- |
| 96 % Ethanol (V/V) | 100 mL |

B.10.3.2 Preparation

Dissolve the 1-naphthol in the ethanol

B.10.4 Potassium hydroxide solution

B.10.4.1 Composition

| Potassium hydroxide | 40.0 g |
| --- | --- |
| Water | 100 mL |

B.10.4.2 Preparation

Dissolve the potassium hydroxide in the water.

B.11 Reagents for the production of indole

B.11.1 Triptone and tryptophan medium

B.11.1.1 Composition

| Tryptone | 10.0 g |
| --- | --- |
| Sodium chloride | 5.0 g |
| DL-tryptophan | 1.0 g |
| Water | 1000 mL |

B.11.1.2 Preparation

Dissolve the components in the boiling water.

Adjust the pH if necessary such that it is 7.5 ± 0.2 at 25 °C after sterilisation.

Place 5 mL of the medium in each of the test tubes (point 8.9).

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.11.2 Kovacs reagent

B.11.2.1 Composition

| 4-Dimethylaminobenzaldehyde | 5.0 g |
| --- | --- |
| hydrochloric acid, ρ = from 1.18 to 1.19 g/mL | 25 mL |
| 2-Methyl-2-butanol | 75 mL |

B.11.2.2 Preparation

Mix the components.

B.12 Semi-solid nutrient agar

B.12.1 Composition

| Meat extract | 3.0 g |
| --- | --- |
| Peptone | 5.0 g |
| Agar | from 4 to 9 g 1) |
| Water | 1 000 mL |

1) Depending on the gelling capacity of the agar

B.12.2 Preparation

Dissolve the components in water, heating if necessary.

Adjust the pH if necessary such that it is 7.0 ± 0.2 at 25 °C after sterilisation.

Divide the culture medium into flasks (point 8.9) of suitable capacity.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

B.12.3 Preparing agar dishes

Place approximately 15 mL of recently prepared culture medium (point 8.11) in small sterile Petri dishes. Do not dry the dishes.

B.13 Physiological saline solution

B.13.1 Composition

| Sodium chloride (NaCl) | 8.5 g |
| --- | --- |
| Water | 1000 mL |

B.13.2 Preparation

Dissolve the sodium chloride in the water.

Adjust the pH if necessary such that it is 7.0 ± 0.2 at 25 °C after sterilisation.

Distribute the solution into flasks or test tubes (point 8.9) such that they contain between 90 mL and 100 mL of solution after sterilisation.

Sterilise for 15 minutes in an autoclave (point 8.1) set to 121.0 °C.

16.3 Appendix C (information)

RESULTS OF INTER-LABORATORY TEST

In 2000, an international inter-laboratory test was organised by AFSSA Ploufragan in Europe and BioControl Systems in the USA, as part of the European project SMT CT 96 2098. The test involved 11 laboratories in 9 countries in Europe and 10 laboratories in the United States. The results can be found in international standard UNI EN ISO 6579 of September 2008 (Italian version from March 2010) in Appendix C.

16.4 APPENDIX D (standards)

DETECTING SALMONELLA SPP. IN ANIMAL FAECES AND ENVIRONMENTAL SAMPLES FROM THE PRIMARY PRODUCTION STAGE

D.1 INTRODUCTION

The method set out in the main body of this standard is not always appropriate for isolating Salmonella spp. from all of the specified matrices of fertilisers (soil improvers) and raw materials used for the manufacture thereof.

In particular, this Appendix applies to detecting Salmonella spp. in :

- animal faeces (e.g. poultry, pigs, cattle) and

- environmental samples from the primary production stage (for example powder).

The method in this Appendix is based on point 10, with a different selective enrichment medium. Consequently, reference is made to point 10 where possible.

The selective enrichment medium described in this Appendix (semi-solid modified Rappaport-Vassiliadis medium: MRSV) is used to detect motile Salmonella spp. and is not suitable for detecting non-motile Salmonella spp.

Note: The biovars of non-motile Salmonella of Salmonella gallinarum (biovar gallinarum of Salmonella gallinarum and biovar pullorum of Salmonella pullorum) do not appear to survive for a long time in environmental samples and are therefore only rarely sought in samples of faeces or environmental samples (such as powder), regardless of the method used. The number of other serovars of non-motile Salmonella spp. in faecal samples generally appears to be low. For example, in the bibliographic reference (7), in which around 1 000 poultry faecal samples and around 900 broiler faecal samples were analysed, less than 1 % of the total number of samples came out positive in a selective broth, and at the same time negative in the MSRV (and probably non-motile). Similar results were obtained in a Dutch study with some 3 200 pig faecal samples (data not published). Furthermore, in the study in reference (7), almost 40 % of the positive samples (i.e. false negatives) would not have been detected if only one selective broth had been used (in this case Rappaport-Vassiliadis) instead of a semi-solid medium.

D.2 PRINCIPLE

D.2.1 General points

Detecting Salmonella in animal faeces and samples from the primary production stage involves four phases.

D.2.2 Pre-enrichment in non-selective liquid media

Inoculate the test aliquot in buffered peptone water (BPW) at ambient temperature, then incubate at 37 °C ±1 °C for 18 hours ±2 hours.

D.2.3 Enrichment in selective semi-solid media

Inoculate the dishes of modified semi-solid Rappaport-Vassiliadis (MSRV) agar with the culture obtained from point D.2.2.

Incubate the MSRV at 41.5 °C ± 1 °C for 24 hours ± 3 hours. If a dish is negative after 24 hours, it should be incubated for another 24 hours ± 3 hours.

D.2.4 Selective isolation and identification

Inoculate the cultures obtained as described in point D.2.3 in two selective solid media:

- Xylose lysine deoxycholate agar (XLD agar);

- Any other selected solid medium complimentary to XLD agar (see point 6.4).

The XLD agar is incubated at 37 °C ± 1 °C and examined after 24 hours ± 3 hours. The second selective medium is incubated according to the manufacturer's instructions.

D.2.5 Confirmation of identity

Subcultures of presumed Salmonella colonies, isolated as described in point D.2.4, and confirmation of their identity using appropriate biochemical and serological tests.

D.3 CULTURE MEDIA, REAGENTS AND SERUMS

D.3.1 General points

See ISO 7218 for current laboratory practices.

All media and reagents required for this Appendix are described in Appendix B, with the exception of modified semi-solid Rappaport-Vassiliadis (MRSV) medium, which is described in point D.3.2. Alternatively, dehydrated complete media or diluents may be used. In such cases, the manufacturer's instructions should be followed.

Note: The composition of the MRSV described in bibliographical reference (8) contained 20 mg/L of novobiocin. However, 10 mg/L of novobiocin is preferable from a scientific point of view. The studies conducted by the CRL-Salmonella generated more positive results for Salmonella spp. in samples of pig faeces when tested with MRSV containing 10 mg/L compared to MRSV containing 20 mg/L of novobiocin (see reference 9). Furthermore, when diverse animal faeces (pigs, poultry, cows) and naturally contaminated powder were tested, the migration zones in the MRSV containing 10 mg/L of novobiocin were (much) larger than those in MRSV containing 10 mg/L of novobiocin (reference 9). The influence of the novobiocin on bacterial motility has been described in reference (10).

Standard sized Petri dishes (90 or 100 mm) may be used to prepare agarised selective isolation media (see B.4, XLD agar) instead of large Petri dishes (140 mm).

D.3.2 Modified semi-solid Rappaport-Vassiliadis (MSRV) medium

D.3.2.1 Base medium

D.3.2.1.1 Composition

| Enzymatic digest of plant and animal tissue | 4.6 g |
| --- | --- |
| Casein acid hydrolysate | 4.6 g |
| Sodium chloride (NaCl) | 7.3 g |
| Monopotassium orthophosphate (KH2PO4) | 1.5 g |
| Anhydrous magnesium chloride (MgCl2) | 10.9 g |
| Malachite green oxalate | 0.04 g |
| Agar | 2.7 g |
| Water | 1 000 mL |

D.3.2.1.2 Preparation

Suspend the ingredients in the water.

Heat to boiling point, while stirring. Do not sterilise in an autoclave.

Do not keep the medium at high temperatures longer than necessary.

Cool the medium to 47–50 °C.

D.3.2.2 Novobiocin solution

D.3.2.2.1 Composition

| Novobiocin sodium salt | 0.05 g |
| --- | --- |
| Water | 10 mL |

D.3.2.2.2 Preparation

Dissolve the novobiocin sodium salt in water.

Sterilise by filtering through a filter with pore dimensions of 0.22 µm.

The solution may be kept for up to 4 weeks at 5 °C ±3 °C or in small portions (for example 2 mL) at -20 °C for up to one year.

D3.2.3 Complete medium

D.3.2.3.1 Composition

| Base medium (point D.3.2.1) | 1 000 mL |
| --- | --- |
| Novobiocin solution (point D.3.2.2) | 2 mL |

D.3.2.3.2 Preparation

In sterile conditions, add 2 mL of novobiocin solution (point D.3.2.2) to 1 000 mL of base medium (point D.3.2.1) at a temperature between 47 °C and 50 °C. Mix carefully.

The final pH should be 5.2 (from 5.1 to 5.4) at a temperature between 20 °C and 25 °C.

Pour into Petri dishes with a diameter of 90 mm to a volume between 15 and 20 mL.

Leave the medium to solidify before moving, and handle with care.

Keep the dishes, with the surface facing upwards, for up to 2 weeks at 5 °C ± 3 °C in the dark.

Do not overturn the dishes because the semi-solid agar is too liquid to allow this.

Dishes in which the semi-solid agar has liquefied or fragmented should not be used.

Immediately before use, if necessary, carefully dry the surface of the agar dish, for example by placing it without a cover and with the surface of the agar turned upwards in a microbiological laminar flow cabinet. Take care not to dry the medium excessively.

D.4 EQUIPMENT AND GLASSWARE

Use the equipment listed in point 8 and below.

D.4.1 Sterile 1 µL bacteriology loops.

D.5 SAMPLING

See sampling method.

D.6 PREPARATION OF TEST SAMPLE

See point 9.

In general, a quantity of sample is added to a quantity of buffered peptone water to obtain a dilution of 1/10 (for example 25 g of sample added to 225 mL of buffered peptone water). However, a different ratio may be required for some sample types.

D.7 PROCEDURE

D.7.1 Non-selective pre-enrichment

Pre-heat the buffered peptone water to ambient temperature before use.

Mix the samples well using the most suitable means for the sample type.

Weigh out the sample and add it to the appropriate quantity of buffered peptone water (see point D.6). Incubate the vessels at 37 °C ± 1 °C for 18 hours ± 2 hours.

D.7.2 Selective enrichment

Bring the MRSV dishes to ambient temperature if they have been kept at a lower temperature.

Inoculate the MRSV dishes with three drops of incubated buffered peptone water culture. The three drops must weigh a total of 0.1 ml and must be placed separately and equidistantly on the surface of the medium.

When taking a subculture from the buffered peptone water, it is very important not to shake the particulate sample. Consequently, containers must be moved carefully and not mixed, shaken or stirred. The objective is to extract an inoculum from the largest volume of free fluid, the closest to the interface between the container and the culture surface, but it is advisable to go deeper if there are particles floating on the surface.

Incubate the inoculated MSRV dishes at 41.5°C ±1 °C for 24 hours ±3 hours.

Do not upturn the dishes.

Positive dishes have a cloudy, grey-white zone extending from the inoculated droplet. The cloudy zone is characterised by a white halo with a clearly defined edge.

If the plates are negative after 24 hours, incubate again for a further 24 hours ± 3 hours.

D.7.3 Selective isolation

Bring the dishes of Xylose lysine deoxycholate (XLD) agar and the second selective isolation medium (see point 7.2.4.2) to ambient temperature if they have been kept at a lower temperature. If necessary, dry the surface of the dishes before use.

Positive sub-cultural MSRV dishes:

Observe the MSRV dish (if necessary on a transparent white surface or a light table). Determine the furthest point of diffusion of the opaque growth from the inoculation points and immerse a 1 µl loop just inside the edge of the opaque growth. Remove the loop, taking care not to extract large blocks of MSRV. Inoculate the surface of an XLD dish to obtain well-isolated colonies. Repeat for the second selective isolation medium using a new sterile loop.

Note: Isolating smaller material from the MSRV using a 1 µL loop makes it possible to obtain well-isolated colonies using standard sized Petri dishes (from 90 mm to 100 mm) with selective isolation agar. Consequently, large dishes (140 mm) need not be used.

Incubate the overturned XLD dishes at 37°C ±1°C for 24 hours ± 3 hours.

Incubate the second selective isolation medium according to the manufacturer's instructions.

Return the negative MRSV dishes to the incubator at 41.5 °C ±1 °C and incubate for a further 24 hours ±3 hours. Perform the selective isolation procedure if, after 48 hours' incubation, these MSRV dishes turn positive.

Typical Salmonella colonies grown on XLD agar have a black centre and a slightly transparent reddish zone as a result of the colour change in the indicator.

The negative variants of Salmonella spp. for the production of H2S (for example Salmonella paratyphi A) grown on XLD agar are pink with a darker pink centre. Lactose-positive Salmonella grown on XLD agar are yellow with or without darkening (see also point 10.4.4).

Examine the second selective medium after the appropriate incubation time to check for colonies that, on account of the characteristics thereof, are assumed to be colonies of Salmonella.

D.7.4 Confirmation

For confirmation of typical colonies isolated on selective isolation media, follow the instructions provided in point 10.5. Point 10.5.2 requires a streak of the colonies isolated from the selective isolation media on nutrient agar before biochemical confirmation. However, this final culture phase is not required if well-isolated colonies (of a pure culture) are already available in the selective isolation media. In this case, perform biochemical confirmation directly on a well-isolated typical (suspect) colony from each selective isolation medium.

D.8 EXPRESSION OF RESULTS

See point 11.

D.9 TEST REPORT

See point 12.

D.10 QUALITY ASSURANCE

See point 15.

Follow the recommendations of ISO/TS 11133-1 and ISO/TS 11133-2 to test media performance. However, these documents provide procedures for selective broths and for selective agar media for detecting Salmonella, but not for semi-solid media such as MRSV. The procedure set out below may be used for MRSV performance tests and is based on the procedure and the test strains described for the selective (enrichment) media for detecting Salmonella (for example RVS and MKTTn, see points B.2 and B.3) in ISO/TS 11133-2.

The procedure set out below was extrapolated from ISO/TS 11133-2:2003, point 7.4.2.1, adapting the concentrations of the test strains. The test strains, the procedure and the criteria are summarised in Table D.1.

- Inoculation of target microorganisms: in the MSRV, inoculate each test organism with approximately 104 CFU/0.1 mL (for preparation of the inoculum, see ISO/TS 11133-2:2003, point 7.2.1).

- Inoculation of non-target microorganisms: in the MSRV, inoculate each test organism having from 105 to 106 CFU/0.1mL (for preparation of the inoculum, see ISO/TS 11133-2:2003, point 7.2.1).

- Inoculation of target and non-target microorganisms as mixed culture: in the MSRV, inoculate a mixed culture containing approximately 104 CFU/0.1 mL of target microorganisms and from 105 to 106 CFU/0.1 mL of non-target microorganisms (for preparation of the inoculum, see ISO/TS 11133-2:2003, point 7.2.1).

Incubate the MSRV dishes at 41.5 °C ±1 °C and assess the dishes after 24 hours ± 3 hours and after 48 hours ± 6 hours.

TABLE D.1 – MSRV performance tests (test strains, procedure and criteria for quality assurance).

| Function | Control strains | Final concentration of inoculum 0.1 ml | Incubation of MSRV | Criteria |
| --- | --- | --- | --- | --- |
| Specificity | S.typhimurium ATCC 14028 or S.enteritidis ATCC13076 | 104 CFU | 41.5°C ± 1°C, 2 x 24 hours ± 3 hours | Cloudy, grey-white zone extending from the inoculated droplet. After 48 hours, the cloudy zones of the three droplets are (almost) completely migrated on the plate. |
| Selectivity | E.coli ATCC 25922 or ATCC 8739 E. faecalis ATCC29212 or ATCC 19433 | from 105 to 106 CFU | 41.5°C ± 1°C, 2 x 24 hours ± 3 hours | Possible growth at the tip of the droplet inoculated without a cloudy zone. |
| Productivity | S.typhimurium ATCC 14028 or S.enteritidis ATCC 13076 + E.coli ATCC 25922 or ATCC 8739 + P.aeruginosa ATCC 27853 | 104 CFU 105 - 106 CFU 105 - 106 CFU | 41.5°C ± 1°C, 2 x 24 hours ± 3 hours | Cloudy, grey-white zone extending from the inoculated droplet. After 48 hours, the cloudy zones of the three droplets are (almost) completely migrated on the plate. Possible extra: subculture with 1 µl loop inside the edge of the opaque growth and diffusion on XLD. Incubate at 37°C ± 1°C for 24 hours ± 3 hours. Criteria: growth of mainly characteristic colonies |

Note: In general, S. typhimurium shows quicker growth and larger migration zones than S.enteritidis.

16.5 APPENDIX E (standards)

REGULATORY REFERENCES TO INTERNATIONAL PUBLICATIONS AND CORRESPONDING EUROPEAN PUBLICATIONS

This standard contains dated and undated references to provisions in other publications. These regulatory references are cited in the appropriate points of the text and are listed below. Dated references, subsequent amendments or revisions made to such publications are only valid if entered in this standard as updates or revisions. For undated references, the latest edition of the publication referred to shall be valid (including updates).

Note: If an international publication is amended by means of common amendments, indicated with (mod.), the corresponding EN/HD shall apply.

| Publication | Year | Title | EN | Year |
| --- | --- | --- | --- | --- |
| ISO 6887-1 | 1999 | Microbiology of food and animal feeding stuffs – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part I: General rules for the preparation of the initial suspension and decimal dilutions | EN ISO 6887-1 | 1999 |
| ISO 8261 | 2001 | Milk and milk products.General guidance for the Preparation of test samples, initial suspensions and Decimal dilutions for microbiological examination | EN ISO 8261 | 2001 |

Bibliography

- ISO 6887-2 Microbiology of food and animal feeding stuffs – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part 2: Specific rules for the preparation of meat and meat products.

- ISO 6887-3 Microbiology of food and animal feeding stuffs – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part 3: Specific rules for the preparation of fish and fishery products.

- ISO 6887-4 Microbiology of food and animal feeding stuffs – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part 4: Specific rules for the preparation of products other than milk and milk products, meat and meat products fish and fishery products.

- Ewing W.H. and Ball M.M. 1996. The biochemical reactions of the genus Salmonella. National Center for Disease Control and Prevention, Atlanta, Georgia, USA.

- Feldsine P. et al. 2001. Recovery of Salmonella in selected foods by the ISO 6579 Salmonella culture procedure and the AOAC International Official Method of Analysis: Collaborative study. J. AOAC Int.

- Culture Media for Food Microbiology. In: Progress in Industrial Microbiology, Vol. 34.(Eds. Corry J.E.L., Curtis G.D.W. and Baird R.M.). Elsevier, Amsterdam, 1995.

- Voogt N., Raes M., Wannet W.J.B., Henken A.M., Van de Giessen A.W. 2001.Comparison of selective enrichment media for the detection of Salmonella in poultry faeces. Letters in Applied Microbiology 32, 89-92.

- De Smedt J.M., Bolderdijk R.F., Rappold H., Lautenschlaeger D. 1986. Rapid Salmonella detection in foods by motility enrichment on a modified semi-solid Rappaport-Vassiliadis medium. Journal of Food Protection 49(7), 510-514.

- Veenman C., Korver H., Mooijman K.A. 2007. Improvements in the method for detection of Salmonella spp. in animal faeces. National Institute for Public Health and the Environment, Bilthoven, the Netherlands. RIVM Report 330300 010.

- Soutourina O.A., Semenovva E.A., Parfenova V.V., Danchin A., Bertin P. 2001. Control of bacterial motility by environmental factors in polarly flagellated and peritrichous bacteria isolated from lake Baikal. Applied and Environmental Microbiology 67(9), 3852-3859.